x

Republic of the Philippines

DEPARTMENT OF PUBLIC WORKS AND HIGHWAYS

SOUTH COTABATO 1ST

DISTRICT ENGINEERING OFFICE

REGIONAL OFFICE XII

Lagao, General Santos City

Invitation to Bid

(IB No. IBG -003 Series of 2024)

Contract ID No. the 24GMB0003- Supply and Delivery of Laboratory Apparatus, Equipment, and Supplies for use in the Office of Quality Assurance Section of DPWH-South Cotabato 1st District Engineering Office, General Santos City

Invitation to Bid for Goods No. IBG-003, series of 2024

The Department of Public Works and Highways South Cotabato 1st District Engineering Office, General Santos City through the GAA CY 2023 intends to apply the sum of Three Million One Hundred Ten Thousand Four Hundred Pesos Only. (P 3,110,400.00) being the Approved Budget for the Contract (ABC) to payments under the contract for Contract ID No. 24GMB0003 - Supply and Delivery of Laboratory Apparatus, Equipment, and Supplies for use in the Office of Quality Assurance Section of DPWH-South Cotabato 1st District Engineering Office, General Santos City received in excess of the ABC shall be automatically rejected at bid opening.

The Department of Public Works and Highways South Cotabato 1st District Engineering Office, General Santos City now invites bids for Laboratory Apparatus, Equipment, and Supplies for use in the Office of Quality Assurance Section of DPWH-South Cotabato 1st District Engineering Office, General Santos.

| Item Number | UNIT | ITEM DESCRIPTION | QTY |
| --- | --- | --- | --- |
| 1 | unit | Auger, Power Head 4.5HP 4-strokes Engine | 1 |
| 2 | piece | Accessories – Auger Power Head Auger Diameter 200x1000mm | 1 |
| 3 | piece | Accessories – Auger Power Head Extension Rod for Augers, 1 meter Long | 1 |
| 4 | piece | Bowl Mixing (Stainless Steel) 13’’ dia. x 5’’H | 5 |
| 5 | unit | Capping Retainer, Local, 4" Diameter (Pairs) | 2 |
| 6 | unit | Capping Retainer Local, 6" Diameter (Pairs) | 2 |
| 7 | unit | CBR Mold, Local 6"x7" (Steel) (Accessories-CBR) | 1 |
| 8 | unit | Cutting & Phosphorous Cutter 1HP/220V/60HZ w/ 16"dia. Cutter Blade | 1 |
| 9 | bottles | Chemical Ethyl Alcohol 1LTR/BTL | 25 |
| 10 | unit | Coring Bit 4" dia. X 15" HT. (46mmx4mm) (Only Shibuya Brand will fit to the existing Equipment) | 2 |
| 11 | unit | Stove Gas, Double Burner | 1 |
| 12 | unit | Dynamic Cone Penetrometer 1. Purpose: This apparatus is used for the rapid in-situ measurement of the structural properties of existing road pavements constructed with unbound materials. Continuous measurements can be made down to a depth of approximately 850 mm or, when extension shafts and rods are used (available as accessories), to a recommended maximum depth of 2 m. where pavements layers have different strengths the boundaries can be identified and the thickness of the layers determined. Correlations have been established and published between the Dynamic Cone Penetrometer (DCP) and California Bearing Ratio (CBR) so that results can be interpreted and compared with CBR specifications; 2. Dynamic cone penetrometer includes: 8 kg dropping weight with 575 mm drop; 2 penetration tips 60° cone, 20 mm dia.; drive rod 1 meter long; vertical scale; a wrench and carrying case; All contained in a carrying case: Case dimensions: 1200×350x200 mm approx.; Weight approx.: 30 Kg; 3. The instrument/equipment may include the following specifications: Hammer weight measurement of 17.6lb (8kg) tolerance is 0.022lb (0.010kg); Hammer weight measurement of 10.1lb (4.6kg) tolerance is 0.022lb (0.010kg); Drop of hammer measurement of 22.6in (575 mm) tolerance is 0.039in (1.0 mm) (4) Tip included angle measurement of 60 degrees; tolerance is 1 degree; Tip base diameter measurement of 0.790in (20 mm); tolerance is 0.010in (0.25mm) 4. Additional Note: the inclusion of Item (1) or (2) is variable and depends on the end-user's decision. The equipment may be manual use or with a digital interface; 5. Other Requirements: With Calibration Certificate from the Manufacturer/Supplier, if available. Include Other General Requirements found at the end of this document. | 2 |
| 13 | unit | Accessories - Dynamic Cone Penetrometer Extension Rod 24'' Long, Stainless | 2 |
| 14 | piece | Hammer Ball 24 oz, 1 1/2LB Cap. | 5 |
| 15 | unit | Non-Nuclear Soil Density Gauge Description 1. Non-Nuclear Soil Density Gauge is used for detecting the density of Soil specimens with non-nuclear type; 2. Measurement Mode: Average: Averages five (5) readings and stores data including location, date, and time; 3. Functions: Wet & Dry Density, % Compaction, % Moisture; 4. Soil Specifications: Designed to operate with standard soils; Requires inputs from the standard (LL, PL, PI, Particle Size Distribution and Proctor Test); Operating Temperature: -20°C to 40°C; 5. Operational Features: Display: Full-color graphics driven user interface with touch screen display with LED backlight for easy visibility in daylight or dark situations; Status Bar: Displays GPS status, battery voltage, low battery, and date and time -Project Details: Stores up to 20 projects with details; Material Details: Stores up to 20 materials, details include Material Name, Description, Max Dry Density, Opt. Moisture, Dry Density Offset: Data Logging: Ability to store all measurements; Reports: Easily download data to be imported into Excel; GPS Control: When activated will display latitude and longitude positions, the number of satellites the gauge is connected to as well as the UTC date and time, also available in UTM format. GPS information will store with each measurement when the Data Save feature is enabled; Update Software: One-touch upload of new software using a USB memory stick; Data Management: Quickly access, download your project data; Set Time & Date: Quick time and date setup; Standardization: While gauge is still in the case, a quick one-touch measurement will ensure the gauge is still in proper working mode; 6. Other requirements: Microprocessor Controlled; Battery: 14.0 Amp-hr NIMH, 7.2 Volt, Recharge time of 4 hours, with battery charger, and 1-USB Port for computer; With Calibration Certificate from the Manufacturer/Supplier, if available. Include Other General Requirements found at the end of this document; Include Other General Requirements found at the end of this document. | 1 |
| 16 | unt | LPG Tank, with Regulator & Hose | 1 |
| 17 | unit | Digital Balance, 60 kg Capacity x 0.01kg sensitivity | 2 |
| 18 | piece | Pan Steel With Handles (Stainless) 350x260x60mm/0.5mm thick | 5 |
| 19 | pack | Sack | 5 |
| 20 | piece | Sand Scoop, rounded, Stainless, 4" dia. | 5 |
| 21 | piece | Tong Crucible Stainless, 6" Small | 5 |

Delivery of the Goods is required 120 Calendar days. Bidders should have completed a contract similar to the Project. The description of an eligible bidder is contained in the Bidding Documents, particularly, in Section II. Instructions to Bidders.

- Bidding will be conducted through open competitive bidding procedures using a non-discretionary “pass/fail” criterion as specified in the 2016 revised Implementing Rules and Regulations (IRR) of Republic Act (RA) No. 9184.

Bidding is restricted to Filipino citizens/sole proprietorships, partnerships, or organizations with at least sixty percent (60%) interest or outstanding capital stock belonging to citizens of the Philippines, and to citizens or organizations of a country the laws or regulations of which grant similar rights or privileges to Filipino citizens, pursuant to RA No. 5183.

- Prospective bidders may obtain further information from Procurement Unit, 2nd Floor, Department of Public Works and Highways South Cotabato 1st District Engineering Office, Tindalo St. Balite, Brgy. Lagao, General Santos City and inspect the Bidding Documents at the address given below during 8:00am to 5:00pm.

- A complete set of Bidding Documents may be acquired by interested Bidders on                    March 6, 2024 to March 25, 2024 from the given address and website(s) below upon payment of the applicable fee for the Bidding Documents, pursuant to the latest Guidelines issued by the GPPB, in the amount of Five Thousand Pesos Only (5,000.00).

- It may also be downloaded free of charge from the website of the Department of Public Works and Highways (DPWH) and the website of the Philippine Government Electronic Procurement System (PhilGEPS), provided that Bidders shall pay the applicable fee for the Bidding Documents not later than the submission of their bids.

- The Department of Public Works and Highways South Cotabato 1st District Engineering Office, General Santos City will hold a Pre-Bid Conference on March 13, 2024 1:30 PM at Conference Room, 2nd Floor, Department of Public Works and Highways South Cotabato 1st District Engineering Office, Tindalo St. Balite, Brgy. Lagao, General Santos City and through videoconferencing/webcasting via Facebook page: DPWH-South Cotabato 1st DEO-Bids and Awards Committee which shall be open to prospective

- All Bids must be accompanied by a bid security in any of the acceptable forms and in the amount stated in ITB Clause 14.

- Bids must be duly received by the BAC Secretariat through (i) manual submission at the office address indicated below on or before 10:00am of March 25, 2024. Late bids shall not be accepted.

- Bid opening shall be on 10:30 am on March 25, 2024 at Conference Room, 2nd Floor, Department of Public Works and Highways South Cotabato 1st District Engineering Office, Tindalo St. Balite, Brgy. Lagao, General Santos City and through videoconferencing/webcasting via Facebook page: DPWH South Cotabato 1st DEO-Bids and Awards Committee. Bids will be opened in the presence of the Bidders’ representatives who choose to attend the activity.

- The Department of Public Works and Highways South Cotabato 1st District Engineering Office, General Santos City reserves the right to reject any and all bids, declare a failure of bidding, or not award the contract at any time prior to contract award in accordance with Sections 35.6 and 41 of the 2016 revised IRR of RA No. 9184, without thereby incurring any liability to the affected bidder or bidders.

- For further information, please refer to:

MA. THERESA R. BARROSO

Engineer III/Head, Procurement Unit

Procurement Unit Office

DPWH South Cotabato 1st DEO, GSC

Tindalo St., Balite, Brgy. Lagao. General Santos City

barroso.ma._theresa@dpwh.gov.ph

You may visit the following websites:

For downloading of Bidding Documents: www.philgeps.gov.ph and www.dpwh.gov.ph

Date of Issue: March 4, 2024

(SGD)TEODY R. GALANG

BAC  Chairperson

R12.11.6-cbl