## Architectural
PHILIPPINE GREEN BUILDING CODE COMPLIANCE CHECKLIST
10 | ENERGY EFFICIENCY |  | GB Code | Developer | Regulator |  |  |  | Regulator
Item | Philippine Green Building Code Requirement | Applicability | Required value | Design Value | Design Compliance |  |  |  | Construction Compliance
[5 empty] | Documentation needed | Document Provided? | Design Specification Relevant |  | Documentation needed | Document Provided? | GB Measure Applied
Building Envelope | [5 empty] | Yes/No | Yes/No | Remarks |  | Yes/No | Yes/No | Remarks
10.1.1 | Air Tightness & Moisture Protection | Applies to all building occupancies except building and spaces without air-conditioning system | Required? | Complied?
a | Sealed window and door assemblies |  |  |  | Bay wall sections |  |  |  | Ocular Inspection & Verification
b | Sealed utility services |  |  |  | Enlarged details of building envelope showing required air tightness & moisture protection elements |  |  |  | Product labels
c | Sealed walls |  |  |  | Building elevations & sections |  |  |  | Brochures & Catalogs
d | Sealed roofing |  |  | Not Complied | Technical specifications of required air tightness & moisture protection elements |  |  |  | Shopdrawings
e | Sealed ceiling |  |  | Not Complied |  |  |  |  | As-built Drawings
f | Sealed flooring |  |  | Not Complied
10.1.2 | Glass Properties | Applies to all building occupancies without exceptions | Use SHGC Calculator | Design Value | Documentation needed | Document Provided? | Design Specification Relevant |  | Documentation needed | Document Provided? | GB Measure Applied
a | Solar Heat Gain Coefficient (SHGC) |  | 0.24 |  | Architectural floor plans, Building elevations & sections |  |  |  | Ocular Inspection & Verification
b | Visual Light Transmittance (VLT) |  | 0.35 |  | Window Schedule |  |  |  | Product labels
[5 empty] | WWR Computation Table |  |  |  | Brochures & Catalogs
[5 empty] | Window Glass specifications |  |  |  | Shopdrawings
As-built Drawings
10.1.3 | Natural Ventilation | Applies to all building occupancies without exceptions | Operable Window Calculator | Design Value | Documentation needed | Document Provided? | Design Specification Relevant |  | Documentation needed | Document Provided? | GB Measure Applied
a | Operable windows or balcony doors at least 10% of room space floor area | Applies to regularly occupied spaces | 10% | Not Complied | Architectural floor plans, Building elevations & sections |  |  |  | Ocular Inspection & Verification
b | Operable window with safety features |  |  |  | Window Schedule |  |  |  | Product labels
[5 empty] | Operable Window Computation Table |  |  |  | Brochures & Catalogs
[5 empty] | Window Details on operation & safety |  |  |  | Shopdrawings
As-built Drawings
10.1.4 | Building Envelope Color | Applies to all building occupancies without exceptions | Required? | Complied? | Documentation needed | Document Provided? | Design Specification Relevant |  | Documentation needed | Document Provided? | GB Measure Applied
a | Building metal roof surface color white or with min. SRI of 70 |  |  |  | Roof plan |  |  |  | Ocular Inspection & Verification
[5 empty] | Technical specs of roof |  |  |  | Product labels
Brochures & Catalogs
Shopdrawings
As-built Drawings
10.1.5 | Roof Insulation | Applies to all building occupancies without exceptions | Thermal Resistance Calculator | Design Value | Documentation needed | Document Provided? | Design Specification Relevant |  | Documentation needed | Document Provided? | GB Measure Applied
a | Roof insulation at least R-8 in thermal resistance |  | R-8.0 | 1.17 | Roof plan & section |  |  |  | Ocular Inspection & Verification
[5 empty] | Technical specification of insulation |  |  |  | Product labels
[5 empty] | Roof Insulation Computation Table |  |  |  | Brochures & Catalogs
Shopdrawings
As-built Drawings
Electrical Systems | [5 empty] | Yes/No | Yes/No | Remarks |  | Yes/No | Yes/No | Remarks
10.6.1 | Daylight Provision | Applies to all regularly occupied spaces of all building occupancies except building spaces where daylight access hinders intended functions | Required? | Complied? | Documentation needed | Document Provided? | Design Specification Relevant |  | Documentation needed | Document Provided? | GB Measure Applied
a | Window |  |  |  | Architectural floor plans,roof plan, building elevations & sections |  |  |  | Ocular Inspection & Verification
b | Light Shelf |  |  |  | Daylight provision details |  |  |  | Product labels
c | Clerestorey | [7 empty] | Brochures & Catalogs
d | Skylight | [7 empty] | Shopdrawings
e | Light monitor/light scoop | [7 empty] | As-built Drawings
f | Other devices
12 | MATERIAL SUSTAINABILITY |  | GB Code | Developer | Regulator |  |  |  | Regulator
Item | Philippine Green Building Code Requirement | Applicability | Required value | Design Value | Design Compliance |  |  |  | Construction Compliance
[5 empty] | Documentation needed | Documentation Provided? | Design Specification Relevant |  | Documentation needed | Documentation Provided? | GB Measure Applied
12.1 | Non-Toxic Materials | Applies to all building occupancies without exceptions | Required? | Complied? |  | Yes/No | Yes/No | Remarks |  | Yes/No | Yes/No | Remarks
a | Paints, coatings, ashesives and sealants shall have no VOC or within tolerable levels as per Table 14 |  |  |  | Architectural floor plans, elevations and sections showing callouts and ID tags of materials |  |  |  | Ocular Inspection & Verification
b | Composite wood with no urea formaldehyde |  |  |  | Room Finish Schedule |  |  |  | Product labels
c | No other materials with harmful content |  |  |  | Technical specs/MSDS |  |  |  | Brochures & Catalogs
[5 empty] | Non-Toxic Materials Confirmation Table |  |  |  | Shopdrawings
Material Safety Data Sheet (MSDS)
13 | SOLID WASTE MANAGEMENT |  | GB Code | Developer | Regulator |  |  |  | Regulator
Item | Philippine Green Building Code Requirement | Applicability | Required value | Design Value | Design Compliance |  |  |  | Construction Compliance
[5 empty] | Documentation needed | Documentation Provided? | Design Specification Relevant |  | Documentation needed | Documentation Provided? | GB Measure Applied
13.1 | Material Recovery Facility (MRF) | Applies to all building occupancies without exceptions | MRF floor area Calculator |  |  | Yes/No | Yes/No | Remarks |  | Yes/No | Yes/No | Remarks
a | MRF with minimum floor area as per Table 15 |  | 0 | 0 | Architectural floor plans & site development plan showing location of MRF |  |  |  | Ocular Inspection & Verification
b | MRF fully enclosed & easily accessible | [7 empty] | Product labels
c | Solid waste containers for 4 types of waste; compostable; non-recyclable; recyclable; special |  |  |  | MRF Floor Area Computation Table |  |  |  | Brochures & Catalogs
d | For hospitals, isolated bins for hazardous wastes |  |  |  | Technical specifications for the MRF |  |  |  | Shopdrawings
As-built Drawings
14 | SITE SUSTAINABILITY |  | GB Code | Developer | Regulator |  |  |  | Regulator
Item | Philippine Green Building Code Requirement | Applicability | Required value | Design Value | Design Compliance |  |  |  | Construction Compliance
[5 empty] | Documentation needed | Documentation Provided? | Design Specification Relevant |  | Documentation needed | Documentation Provided? | GB Measure Applied
14.1 | Site / Ground Preparation and Earthworks | Applies to all building occupancies without exceptions | Required? | Complied? |  | Yes/No | Yes/No | Remarks |  | Yes/No | Yes/No | Remarks
a | Building site and erosion control |  |  |  | Site Erosion and Sedimentation Control Plan |  |  |  | Ocular Inspection & Verification
b | Pollution mitigation and construction safety per Rule XI of the NBC
c | Storm water collection management plan |  |  |  | Technical specifications in support of the erosion & control plan |  |  |  | Shopdrawings
d | Storm water collection facilities | [7 empty] | As-built Drawings
14.2 | Open Space Utilization | Applies to all building occupancies without exceptions | USA Calculator | Design Value
a | Minimum 50% of the required Unpaved Surface Area (USA) shall be vegetated |  | 50% | Not Complied | Site Development Plan |  |  |  | Ocular Inspection & Verification
[5 empty] | Technical specifications |  |  |  | Shopdrawings
[5 empty] | USA Computation Table |  |  |  | As-built Drawings
| DECLARED BY | Signature |  |  | Signature |  |  |  | Signature
(Name of Design Professional)
| DECLARED BY | [7 empty] | Signature
(Name of In-charge of Construction)
| VERIFIED BY | Signature |  |  | Signature |  |  |  | Signature
(Name of LGU OBO Checker)

## SHGC Calculator
SHGC CALCULATOR
Building Elevations | Gross Wall Area (m2) | Net Glazing Area (m2) | Window Wall Ratio (%) | MAXIMUM REQUIRED SHGC | MINIMUM VLT | Horizontal Overhang Depth (m) | Height from Window Sill to Bottom of Overhang (m) | D/H | Correction Factor | Vertical Fin Depth (m) | Distance from Opposite Window Edge to Fin (m) | D/H | Correction Factor | ADJUSTED SHGC
| 0 | 0 | 100% | 0.24 | 0.35 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0.24
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
TOTAL | 0 | 0
Return to Architectural GB Checklist

## Operable Window Calculator
OPERABLE WINDOW CALCULATOR
Frequently Occupied Building Space | Floor Area | Required Operable Window Area | Designed Operable Window Area | Not Complied
Delete Unused Rows | (m2) | (Min. 10% of Floor Area) (m2) | (m2) | 100
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
| 0 | 0 | 0 | Not Complied
Return to Architectural GB Checklist

## Thermal Resistance Calculator
THERMAL RESISTANCE CALCULATOR
Building Roof / Deck Component | Thickness (mm) | R-Value per 25.44 mm | Total Insulating Value
Outdoor surface, any position, moving air | NA | NA | 0.25
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
| 0 | 0 | 0
Horizontal Indoor Surface | NA | NA | 0.92
TOTAL |  |  | 1.17
Return to Architectural GB Checklist

## MRF Floor Area Calculator
MRF FLOOR AREA CALCULATOR
Building Use | Building TGFA (m2) | Computed Required MRF Floor Area (m2) | Designed MRF Provision (m2)
| 0 | 0 | 0
Return to Architectural GB Checklist |  |  | Not Complied

## USA Calculator
UNPAVED SURFACE AREA CALCULATOR
Building Use/Occupancy | Lot Area (m2) | Required Total Open Space (m2) | Designed Total Open Space (m2) | Required Minimum USA as per NBC (m2) | GB Code Required Minimum USA w/ Vegetation (m2) | Designed USA w/Vegetation (m2)
| 0 | 0 | 0 | 0 | 0 | 0
Not Complied | 2 |  | Not Complied |  |  | Not Complied
Return to Architectural GB Checklist

## Sheet1
Required | Complied | YesNo | Provided | Elevations | Insulation | R-Value / Inch (25.44 mm) | Use/Occupancy | Requirement
Required | Complied | Yes | Provided | North | Polyisocyanurate | 5.6 | Residential | 0.0006
Not Required | Not Complied | No | Not Provided | Northeast | Polyurethane | 5.6 | Hotel | 0.0006
Exempt | Not Applicable |  |  | East | Closed cell spray foam | 5.5 | School | 0.005
|  |  |  | Southeast | Phenolic foam | 4.8 | Hospital | 0.0012
|  |  |  | South | Urea formaldehyde foam | 4.6 | Office | 0.0010714
|  |  |  | Southwest | Plastic fiber | 4.3 | Mercantile/Retail | 0.00375
|  |  |  | West | Mineral fiber | 4.2
|  |  |  | Northwest | Cementitious foam | 3.9
[5 empty] | Polystyrene | 3.8
[5 empty] | Fiberglass | 3.7
[5 empty] | Rockwool | 3.7
[5 empty] | Rigid foam | 3.6
[5 empty] | Cellulose | 3.6
[5 empty] | Open cell spray foam | 3.6
[5 empty] | Sheep's wool | 3.5
[5 empty] | Hemp | 3.5
[5 empty] | Cotton | 3.4
[5 empty] | Loose cellulose | 3
[5 empty] | Mineral wool | 2.8
[5 empty] | Straw | 2.4
[5 empty] | Vermiculite / Perlite | 2.4
[5 empty] | Reflective bubble foil | 1
[5 empty] | Poured Concrete | 0.08