## Electrical
PHILIPPINE GREEN BUILDING CODE COMPLIANCE CHECKLIST
10 | ENERGY EFFICIENCY |  | GB Code | Developer | Regulator |  |  |  | Regulator
Item | Philippine Green Building Code Requirement | Applicability | Required value | Design Value | Design Compliance |  |  |  | Construction Compliance
[5 empty] | Documentation needed | Document Provided? | Design Specification Relevant |  | Documentation needed | Document Provided? | GB Measure Applied
Electrical Systems | [5 empty] | Yes/No | Yes/No | Remarks |  | Yes/No | Yes/No | Remarks
10.6.2 | Daylight Controlled Lighting System | Applies to all regularly occupied spaces of all building occupancies except building spaces where daylight access hinders intended functions | Required? | Complied?
a | Daylight sensor or photoelectic sensor in lighting system - for use within lighting control systems in day-lit zones | For residential condominiums, this applies only to common indoor areas with access to daylight |  |  | Architectural Reflected Ceiling Plan |  |  |  | Ocular Inspection & Verification
|  | Installed lighting fixtures within day-lit zones are exempt from using photoelectric sensor if this hinders its intended functions, with justification |  |  | Electrical lighting and switching circuitry layout |  |  |  | Product Labels and/or namepate rating
[5 empty] | Lighting control diagram |  |  |  | Brochures & Catalogues
[5 empty] | Technical Specifications |  |  |  | Shopdrawings
As-built Drawings
10.6.3 | Lighting Power Density (LPD) | Applies to all building occupancies without exceptions | LPD Calculator | Design Value | Documentation needed | Document Provided? | Design Specification Relevant |  | Documentation needed | Document Provided? | GB Measure Applied
a | Building LPD within maximum LPD requirements |  | W/m2 | W/m2 | Architectural Reflected Ceiling Plan w/ LEGEND Box |  |  |  | Ocular Inspection & Verification
a.1 | Residential Dwelling |  | 10.8 | 0 | Electrical Lighting Layout w/ LEGEND Box |  |  |  | Product Labels and/or namepate rating
a.2 | Hotel/Resort |  | 10.8 | 0 | Building Lighting Power Density Table |  |  |  | Brochures & Catalogues
a.3 | Educational: School |  | 12.9 | 0 | Technical specifications of light fixtures |  |  |  | Shopdrawings
a.4 | Institutional: Hospital |  | 12.9 | 0 |  |  |  |  | As-built Drawings
a.5 | Business: Office |  | 10.8 | 0
a.6 | Mercantile:Mall (excl accent lighting) |  | 16.1 | 0
a.7 | Exterior facade |  | 2.15 | 0
a.8 | Active entrance (pedestrian conveyance) |  | 98.4 | 0
a.9 | Inactive entrance (normally locked/inactive) |  | 65.6 | 0
a.10 | Covered Parking |  | 3.2 | 0
a.11 | Open Parking |  | 1.6 | 0
10.6.4 | Occupancy Sensors | Applies to all building occupancies except hospitals and malls | Required? | Complied? | Documentation needed | Document Provided? | Design Specification Relevant |  | Documentation needed | Document Provided? | GB Measure Applied
a | Occupancy sensors in lighting system | Provisions for emergency and security lighting are exempted |  |  | Architectural Reflected Ceiling Plan |  |  |  | Ocular Inspection & Verification
b | Occupancy sensors in covered parking lighting system - at least 60% of lighting |  |  |  | Electrical Lighting layout |  |  |  | Product Labels and/or namepate rating
[5 empty] | Occupancy Sensing System Confirmation Table |  |  |  | Brochures & Catalogues
[5 empty] | Technical Spepcifications |  |  |  | Shopdrawings
As-built Drawings
10.6.5 | Elevators and Escalators / Moving Ramps and Walkways | Applies to all building occupancies without exceptions | Required? | Complied? | Documentation needed | Document Provided? | Design Specification Relevant |  | Documentation needed | Document Provided? | GB Measure Applied
a | Escalators, ramps, moving ramps, walkways with automatic controls |  |  |  | Architectural Floor Plan |  |  |  | Ocular Inspection & Verification
b | Elevators with: |  |  |  | Building Sections |  |  |  | Product Labels and/or namepate rating
b.1 | AC VVVF drive on non-hydraulic elevators |  |  |  | Technical specifications |  |  |  | Brochures & Catalogues
b.2 | Efficient car and display lighting with ave. Lamp efficacy of 55 lm/watt |  |  |  | Mechanical Equipment Schedule |  |  |  | Shopdrawings
b.3 | Automatic lighting switch-off after 5 minutes of inactive use |  |  |  | Electrical Power Load Schedule |  |  |  | As-built Drawings
b.4 | Stand-by operations during off-peak hours
10.6.6 | Transformers | Applies to all building occupancies without exceptions | Required? | Complied? | Documentation needed | Document Provided? | Design Specification Relevant |  | Documentation needed | Document Provided? | GB Measure Applied
a | Transformer specified with no less than 98% efficiency |  |  |  | Electrical Power Single Line Diagram |  |  |  | Ocular Inspection & Verification
[5 empty] | Electrical Power Distribution Layout |  |  |  | Product Labels and/or namepate rating
[5 empty] | Technical Specifications |  |  |  | Brochures & Catalogues
Shopdrawings
As-built Drawings
| DECLARED BY | Signature |  |  | Signature |  |  |  | Signature
(Name of Design Professional)
| DECLARED BY | [7 empty] | Signature
(Name of In-charge of Construction)
| VERIFIED BY | Signature |  |  | Signature |  |  |  | Signature
(Name of LGU OBO Checker)

## LPD Calculator
LIGHTING POWER DENSITY CALCULATOR
| Uses | Total Units |  | Designed Total Lighting Power (Watts) | Designed Total LPD
| Residential | 0 | m2 | 0 | 0 | W/m2
| Hotel | 0 | m2 | 0 | 0 | W/m2
| School | 0 | m2 | 0 | 0 | W/m2
| Hospital | 0 | m2 | 0 | 0 | W/m2
| Office | 0 | m2 | 0 | 0 | W/m2
| Mercantile/Retail | 0 | m2 | 0 | 0 | W/m2
| Covered Parking | 0 | m2 | 0 | 0 | W/m2
| Open and Outdoor Parking | 0 | m2 | 0 | 0 | W/m2
| Exterior Façade | 0 | m2 | 0 | 0 | W/m2
| Active Entrance | 0 | m | 0 | 0 | W/m
| Inactive Entrance | 0 | m | 0 | 0 | W/m
Return to Electrical GB Checklist
Building Space | Uses | Unit |  | Designed Total Lighting Power | Designed LPD |  | GB Code Required | Not Complied
Delete Unused Rows |  |  |  | (Watts) |  |  |  | 100
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied
|  | 0 |  | 0 | 0 |  |  | Not Complied

## Sheet1
Required | Complied | YesNo | Provided | Use | LPD | Units
Required | Complied | Yes | Provided | Residential | 10.8 | W/m2 | m2
Not Required | Not Complied | No | Not Provided | Hotel | 10.8 | W/m2 | m2
Exempt | Not Applicable |  |  | School | 12.9 | W/m2 | m2
|  |  |  | Hospital | 12.9 | W/m2 | m2
|  |  |  | Office | 10.8 | W/m2 | m2
|  |  |  | Mercantile/Retail | 16.1 | W/m2 | m2
|  |  |  | Covered Parking | 3.2 | W/m2 | m2
|  |  |  | Open and Outdoor Parking | 1.6 | W/m2 | m2
|  |  |  | Exterior Façade | 2.15 | W/m2 | m2
|  |  |  | Active Entrance | 98.4 | W/m | m
|  |  |  | Inactive entrance | 65.6 | W/m | m