## Mechanical
PHILIPPINE GREEN BUILDING CODE COMPLIANCE CHECKLIST
10 | ENERGY EFFICIENCY |  | GB Code | Developer | Regulator |  |  |  | Regulator
Item | Philippine Green Building Code Requirement | Applicability | Required value | Design Value | Design Compliance |  |  |  | Construction Compliance
[5 empty] | Documentation needed | Document Provided? | Design Specification Relevant |  | Documentation needed | Document Provided? | GB Measure Applied
Mechanical Systems | [5 empty] | Yes/No | Yes/No | Remarks |  | Yes/No | Yes/No | Remarks
10.5.1 | Air Conditioning Equipment | Applies to all building occupancies except building and spaces without air-conditioning system | EER or COP or kW/Ton | EER or COP or kW/Ton
a | Efficient air-conditioning equipment |  |  |  | Equipment Schedule |  |  |  | Ocular Inspection & Verification
[5 empty] | Air-conditioning & Ventilation Layout |  |  |  | Product Labels and/or namepate rating
[5 empty] | Technical Specifications of the various AC equipment |  |  |  | Brochures & Catalogues
Shopdrawings
As-built Drawings
10.5.2 | Water Heating System | Applies to all building occupancies except building with no water heating system and buildings using solar water heating and/or heat pump for water | Required Efficiency Factor | Efficiency Factor | Documentation needed | Document Provided? | Design Specification Relevant |  | Documentation needed | Document Provided? | GB Measure Applied
a | Efficient water heater | (Equipment 1) |  |  | Equipment Schedule |  |  |  | Ocular Inspection & Verification
|  | (Equipment 2) |  |  | Plumbing & Electrical power layout |  |  |  | Product Labels and/or namepate rating
|  | (Equipment 3) |  |  | Technical Specifications of Water Heating system |  |  |  | Brochures & Catalogues
|  | (Equipment 4) | [6 empty] | Shopdrawings
|  | (Equipment 5) | [6 empty] | As-built Drawings
10.5.3 | Variable Speed Drives and High Efficiency Motors | Applies to all building occupancies. Non-centralized air-conditioning systems in buildings are not required to employ variable speed controllers; and kitchen ventilation fans are exempt from this requirement. | Efficiency Factor | Efficiency Factor | Documentation needed | Document Provided? | Design Specification Relevant |  | Documentation needed | Document Provided? | GB Measure Applied
a | VSD and High Efficiency motors for mechanical equipment more than 5kW | (Equipment 1) |  |  | Equipment Schedule |  |  |  | Ocular Inspection & Verification
|  | (Equipment 2) |  |  | Plumbing & Electrical power layout and schematic diagram |  |  |  | Product Labels and/or namepate rating
|  | (Equipment 3) |  |  | Technical specifications of motors and VSD/VFD |  |  |  | Brochures & Catalogues
b | VSD and High Efficiency motors for cooling towers | (Equipment 1) | [6 empty] | Shopdrawings
|  | (Equipment 2) | [6 empty] | As-built Drawings
(Equipment 3)
c | High Efficiency motors for domestic pumps | (Equipment 1)
(Equipment 2)
(Equipment 3)
10.5.4 | Enthalpy Recovery of Exhaust Air | Applies to all building occupancies except those without centralized cooling systems | Efficiency Factor | Efficiency Factor | Documentation needed | Document Provided? | Design Specification Relevant |  | Documentation needed | Document Provided? | GB Measure Applied
a | Enthalpy Recovery Wheel - =>60% of 90% of exhaust air |  | = > 60% |  | Equipment Schedule |  |  |  | Ocular Inspection & Verification
[5 empty] | Mechanical Equipment layout and schematic diagram |  |  |  | Product Labels and/or namepate rating
[5 empty] | Technical Specifications of Enthalpy Recovery Wheel |  |  |  | Brochures & Catalogues
Shopdrawings
As-built Drawings
| DECLARED BY | Signature |  |  | Signature |  |  |  | Signature
(Name of Design Professional)
| DECLARED BY | [7 empty] | Signature
(Name of In-charge of Construction)
| VERIFIED BY | Signature |  |  | Signature |  |  |  | Signature
(Name of LGU OBO Checker)
PHILIPPINE GREEN BUILDING CODE COMPLIANCE CHECKLIST
15 | INDOOR ENVIRONMENTAL QUALITY |  | GB Code | Developer | Regulator |  |  |  | Regulator
Item | Philippine Green Building Code Requirement | Application | Required value | Design Value | Design Compliance |  |  |  | Construction Compliance
[5 empty] | Documentation needed | Document Provided? | Design Specification Relevant |  | Documentation needed | Document Provided? | GB Measure Applied
15.1 | Minimum Fresh Air Rates | Applies to all building occupancies except building and spaces without air-conditioning system | Min. Vent. Rates Req'd Calculator | Not Complied |  | Yes/No | Yes/No | Remarks |  | Yes/No | Yes/No | Remarks
a | Outside supply air (OSA) and exhaust air ventilation system conforming to minimum ventilation requirements of PSVARE Standard | (Room space 1) |  |  | Equipment Schedule |  |  |  | Ocular Inspection & Verification
|  | (Room space 2) |  |  | Air-conditioning & Ventilation Layout |  |  |  | Product Labels and/or namepate rating
|  | (Room space 3) |  |  | Required Ventilation Rates Computation Table |  |  |  | Brochures & Catalogues
|  | (Room space 4) |  |  | Technical Specifications |  |  |  | Shopdrawings
|  | (Room space 5) | [6 empty] | As-built Drawings
(Room space 6)
(Room space 7)
(Room space 8)
(Room space 9)
(Room space 10)
15.2 | Designated Smoking Area | Applies to all building occupancies. Buildings with "no smoking" general policy may be exempted from having designated smoking areas | Required? | Complied? | Documentation needed | Document Provided? | Design Specification Relevant |  | Documentation needed | Document Provided? | GB Measure Applied
a | NO SMOKING policy signage posted in the building, complying with RA 9514 |  |  |  | Architectural floor plans and/or site development plan showing designated smoking areas |  |  |  | Ocular Inspection & Verification
b | Designated smoking areas outdoors are naturally ventilated, located 10 meters away from entrances, windows and OSA intakes. |  |  |  | Architectural detailed elevation and section of Indoor Smoking Area |  |  |  | Product Labels and/or namepate rating
c | Designated smoking areas indoors are fully partitioned, with proper exhaust system as per PSVARE standard |  |  |  | Ventilation system for Indoor Smoking area in Mechanical Plans |  |  |  | Brochures & Catalogues
d | Enclosed smoking areas with dedicated exhaust system, negative pressure, directly vents outside, away from building openings and intakes |  |  |  | Floor plans showing location of "No Smoking" signage |  |  |  | Shopdrawings
e | Enclosed smoking areas have well-sealed doors and windows |  |  |  | Detail and location of signage for Designated Smoking Area |  |  |  | As-built Drawings
| DECLARED BY | Signature |  |  | Signature |  |  |  | Signature
(Name of Design Professional)
| DECLARED BY | [7 empty] | Signature
(Name of In-charge of Construction)
| VERIFIED BY | Signature |  |  | Signature |  |  |  | Signature
(Name of LGU OBO Checker)

## Min Ventilation Rate Calculator
MINIMUM VENTILATION RATE CALCULATOR
Room Parameters (Delete Unused Rows) |  |  |  | 2010 PSVARE Standard |  | Required |  |  | Equipment |  | Not Complied
Space | Room/Space Designation | Floor Area (m2) | Space Occupancy (Person) | Area Outdoor Airflow Rate (CMH/m2) | People Outdoor Airflow Rate (CMH/person) | Designed Area Outdoor Air Flow (CMH/m2) | Designed People Outdoor Air Flow (CMH/m2) | Designed Total Air Flow (CMH/m2) | Schedule Designation | Air Flow (CMH/m2) | 100
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Not Complied
Return to Mechanical GB Checklist

## Sheet1
Required | Complied | YesNo | Provided | Equipment Type | Minimum Efficiency
Required | Complied | Yes | Provided | Through-the-wall, air-cooled, split systems <31,655 KJ/H | 12.0 SEER
Not Required | Not Complied | No | Not Provided | Through-the-wall, air-cooled, single packaged <31,655 KJ/H | 12.0 SEER
Exempt | Not Applicable |  |  | Small-duct high velocity, air cooled <68,585 KJ/H | 10.0 SEER
|  |  |  | Air-cooled, split systems <68,585 KJ/H | 12.0 EER
|  |  |  | Air-cooled, single packaged <68,585 KJ/H | 11.6 EER
|  |  |  | Air cooled ≥68,585 KJ/H | 11.5 EER
|  |  |  | Air cooled <142,447 KJ/H | 11.3 EER
|  |  |  | Air cooled ≥142,447 KJ/H | 11.5 EER
|  |  |  | Air cooled <253,238 KJ/H | 11.3 EER
|  |  |  | Air cooled ≥253,238 KJ/H | 10.0 EER
|  |  |  | Air cooled <801,922 KJ/H | 9.8 EER
|  |  |  | Air cooled ≥801,922 KJ/H | 9.5 EER
|  |  |  | Water cooled <68,585 KJ/H | 14.0 EER
|  |  |  | Water cooled ≥68,585 KJ/H | 13.8 EER
|  |  |  | Air cooled chillers with condenser, electrically operated | 10.0 EER
|  |  |  | Water cooled, Electrically operated, positive displacement <75 tons | 0.78 Kw/ton
|  |  |  | Water cooled, Electrically operated, positive displacement ≥75 tons | 0.775 Kw/ton
|  |  |  | Water cooled, Electrically operated, positive displacement ≥150 tons | 0.68 Kw/ton
|  |  |  | Water cooled, Electrically operated, positive displacement ≥300 tons | 0.62 Kw/ton
|  |  |  | Water cooled, Electrically operated, centrifugal <300 tons | 0.634 Kw/ton
|  |  |  | Water cooled, Electrically operated, centrifugal ≥300 tons | 0.576 Kw/ton
|  |  |  | Water cooled, Electrically operated, centrifugal ≥600 tons | 0.57 Kw/ton
|  |  |  | Air-cooled and Water cooled absorption single effect | 0.6 COP
|  |  |  | Absorption double effect indirect-fired | 1.0 COP