z

Philippine Bidding Documents

Philippine Bidding Documents

Procurement of INFRASTRUCTURE PROJECTS

Government of the Republic of the Philippines

| # PROCUREMENT ID/CONTRACT ID | : | 25LC0074 |
| --- | --- | --- |
| # CONTRACT NAME # CONTRACT LOCATION | : : | Construction (Completion) of Tagum City Diagnostic Social Services, Complex, City Hall Grounds, Tagum City, Davao del Norte DAVAO DEL NORTE |
| # DATE OF OPENING OF BIDS | : | July 15, 2025 10:00 AM |
| ## DATE OF ISSUANCE OF BIDDING DOCUMENTS | : | June 25, 2025 – July 15, 2025 |

Sixth Edition

July 2020

Preface

These Philippine Bidding Documents (PBDs) for the procurement of Infrastructure Projects (hereinafter referred to also as the “Works”) through Competitive Bidding have been prepared by the Government of the Philippines for use by all branches, agencies, departments, bureaus, offices, or instrumentalities of the government, including government-owned and/or -controlled corporations, government financial institutions, state universities and colleges, local government units, and autonomous regional government. The procedures and practices presented in this document have been developed through broad experience, and are for mandatory use in projects that are financed in whole or in part by the Government of the Philippines or any foreign government/foreign or international financing institution in accordance with the provisions of the 2016 revised Implementing Rules and Regulations (IRR) of Republic Act (RA) No. 9184.

The PBDs are intended as a model for admeasurements (unit prices or unit rates in a bill of quantities) types of contract, which are the most common in Works contracting.

The Bidding Documents shall clearly and adequately define, among others: (i) the objectives, scope, and expected outputs and/or results of the proposed contract; (ii) the eligibility requirements of Bidders; (iii) the expected contract duration; and (iv)the obligations, duties, and/or functions of the winning Bidder.

Care should be taken to check the relevance of the provisions of the PBDs against the requirements of the specific Works to be procured. If duplication of a subject is inevitable in other sections of the document prepared by the Procuring Entity, care must be exercised to avoid contradictions between clauses dealing with the same matter.

Moreover, each section is prepared with notes intended only as information for the Procuring Entity or the person drafting the Bidding Documents. They shall not be included in the final documents. The following general directions should be observed when using the documents:

- All the documents listed in the Table of Contents are normally required for the procurement of Infrastructure Projects. However, they should be adapted as necessary to the circumstances of the particular Project.

- Specific details, such as the “name of the Procuring Entity” and “address for bid submission,” should be furnished in the Instructions to Bidders, Bid Data Sheet, and Special Conditions of Contract.  The final documents should contain neither blank spaces nor options.

- This Preface and the footnotes or notes in italics included in the Invitation to Bid, BDS, General Conditions of Contract, Special Conditions of Contract, Specifications, Drawings, and Bill of Quantities are not part of the text of the final document, although they contain instructions that the Procuring Entity should strictly follow.

- The cover should be modified as required to identify the Bidding Documents as to the names of the Project, Contract, and Procuring Entity, in addition to date of issue.

- Modifications for specific Procurement Project details should be provided in the Special Conditions of Contract as amendments to the Conditions of Contract.  For easy completion, whenever reference has to be made to specific clauses in the Bid Data Sheet or Special Conditions of Contract, these terms shall be printed in bold typeface on Sections I (Instructions to Bidders) and III (General Conditions of Contract), respectively.

- For guidelines on the use of Bidding Forms and the procurement of Foreign-Assisted Projects, these will be covered by a separate issuance of the Government Procurement Policy Board.

TABLE OF CONTENTS

PROCUREMENT ID/CONTRACT ID	1

CONTRACT NAME	1

CONTRACT LOCATION	1

DATE OF OPENING OF BIDS	1

DATE OF ISSUANCE OF BIDDING DOCUMENTS	1

Glossary of	5

Terms, Abbreviations, and Acronyms	5

Section I. Invitation to Bid	7

Section II. Instructions to Bidders	9

1.	Scope of Bid	11

2.	Funding Information	11

3.	Bidding Requirements	11

4.	Corrupt, Fraudulent, Collusive, Coercive, and Obstructive Practices	11

5.	Eligible Bidders	12

6.	Origin of Associated Goods	12

7.	Subcontracts	12

8.	Pre-Bid Conference	12

9.	Clarification and Amendment of Bidding Documents	12

10.	Documents Comprising the Bid: Eligibility and Technical Components	13

11.	Documents Comprising the Bid: Financial Component	13

12.	Alternative Bids	14

13.	Bid Prices	14

14.	Bid and Payment Currencies	14

15.	Bid Security	14

16.	Sealing and Marking of Bids	14

17.	Deadline for Submission of Bids	15

18.	Opening and Preliminary Examination of Bids	15

19.	Detailed Evaluation and Comparison of Bids	15

20.	Post Qualification	15

21.	Signing of the Contract	16

Section III. Bid Data Sheet	17

Section IV. General Conditions of Contract	31

1.	Scope of Contract	32

2.	Sectional Completion of Works	32

3.	Possession of Site	32

4.	The Contractor’s Obligations	32

5.	Performance Security	32

6.	Site Investigation Reports	33

7.	Warranty	33

8.	Liability of the Contractor	33

9.	Termination for Other Causes	33

10.	Dayworks	34

11.	Program of Work	34

12.	Instructions, Inspections and Audits	34

13.	Advance Payment	34

14.	Progress Payments	34

15.	Operating and Maintenance Manuals	34

Section V. Special Conditions of Contract	36

Section VI. Specifications	40

Section VII. Drawings	41

Section VIII. Bill of Quantities	42

Section IX. Checklist of Technical and Financial Documents	43

Section X. Bidding Forms	64

# Glossary of

# Terms, Abbreviations, and Acronyms

ABC – Approved Budget for the Contract.

ARCC – Allowable Range of Contract Cost.

BAC – Bids and Awards Committee.

Bid – A signed offer or proposal to undertake a contract submitted by a bidder in response to and in consonance with the requirements of the bidding documents. Also referred to as Proposal and Tender. (2016 revised IRR, Section 5[c])

Bidder – Refers to a contractor, manufacturer, supplier, distributor and/or consultant who submits a bid in response to the requirements of the Bidding Documents. (2016 revised IRR, Section 5[d])

Bidding Documents – The documents issued by the Procuring Entity as the bases for bids, furnishing all information necessary for a prospective bidder to prepare a bid for the Goods, Infrastructure Projects, and/or Consulting Services required by the Procuring Entity. (2016 revised IRR, Section 5[e])

BIR – Bureau of Internal Revenue.

BSP – Bangko Sentral ng Pilipinas.

CDA – Cooperative Development Authority.

Consulting Services – Refer to services for Infrastructure Projects and other types of projects or activities of the GOP requiring adequate external technical and professional expertise that are beyond the capability and/or capacity of the GOP to undertake such as, but not limited to: (i) advisory and review services; (ii) pre-investment or feasibility studies; (iii) design; (iv) construction supervision; (v) management and related services; and (vi) other technical services or special studies. (2016 revised IRR, Section 5[i])

Contract – Refers to the agreement entered into between the Procuring Entity and the Supplier or Manufacturer or Distributor or Service Provider for procurement of Goods and Services; Contractor for Procurement of Infrastructure Projects; or Consultant or Consulting Firm for Procurement of Consulting Services; as the case may be, as recorded in the Contract Form signed by the parties, including all attachments and appendices thereto and all documents incorporated by reference therein.

Contractor – is a natural or juridical entity whose proposal was accepted by the Procuring Entity and to whom the Contract to execute the Work was awarded.  Contractor as used in these Bidding Documents may likewise refer to a supplier, distributor, manufacturer, or consultant.

CPI – Consumer Price Index.

DOLE – Department of Labor and Employment.

DTI – Department of Trade and Industry.

Foreign-funded Procurement or Foreign-Assisted Project – Refers to procurement whose funding source is from a foreign government, foreign or international financing institution as specified in the Treaty or International or Executive Agreement. (2016 revised IRR, Section 5[b]).

GFI – Government Financial Institution.

GOCC – Government-owned and/or –controlled corporation.

Goods – Refer to all items, supplies, materials and general support services, except Consulting Services and Infrastructure Projects, which may be needed in the transaction of public businesses or in the pursuit of any government undertaking, project or activity, whether in the nature of equipment, furniture, stationery, materials for construction, or personal property of any kind, including non-personal or contractual services such as the repair and maintenance of equipment and furniture, as well as trucking, hauling, janitorial, security, and related or analogous services, as well as procurement of materials and supplies provided by the Procuring Entity for such services. The term “related” or “analogous services” shall include, but is not limited to, lease or purchase of office space, media advertisements, health maintenance services, and other services essential to the operation of the Procuring Entity. (2016 revised IRR, Section 5[r])

GOP – Government of the Philippines.

Infrastructure Projects – Include the construction, improvement, rehabilitation, demolition, repair, restoration or maintenance of roads and bridges, railways, airports, seaports, communication facilities, civil works components of information technology projects, irrigation, flood control and drainage, water supply, sanitation, sewerage and solid waste management systems, shore protection, energy/power and electrification facilities, national buildings, school buildings, hospital buildings, and other related construction projects of the government. Also referred to as civil works or works. (2016 revised IRR, Section 5[u])

LGUs – Local Government Units.

NFCC – Net Financial Contracting Capacity.

NGA – National Government Agency.

PCAB – Philippine Contractors Accreditation Board.

PhilGEPS - Philippine Government Electronic Procurement System.

Procurement Project – refers to a specific or identified procurement covering goods, infrastructure project or consulting services. A Procurement Project shall be described, detailed, and scheduled in the Project Procurement Management Plan prepared by the agency which shall be consolidated in the procuring entity's Annual Procurement Plan. (GPPB Circular No. 06-2019 dated 17 July 2019)

PSA – Philippine Statistics Authority.

SEC – Securities and Exchange Commission.

SLCC – Single Largest Completed Contract.

UN – United Nations.

# Section I. Invitation to Bid

Notes on the Invitation to Bid The Invitation to Bid (IB) provides information that enables potential Bidders to decide whether to participate in the procurement at hand. The IB shall be posted in accordance with Section 21.2 of the 2016 revised IRR of RA No. 9184. Apart from the essential items listed in the Bidding Documents, the IB should also indicate the following: - The date of availability of the Bidding Documents, which shall be from the time the IB is first advertised/posted until the deadline for the submission and receipt of bids; - The place where the Bidding Documents may be acquired or the website where it may be downloaded; - The deadline for the submission and receipt of bids; and - Any important bid evaluation criteria. The IB should be incorporated into the Bidding Documents. The information contained in the IB must conform to the Bidding Documents and in particular to the relevant information in the Bid Data Sheet.

# Section II. Instructions to Bidders

Notes on the Instructions to Bidders This Section on the Instruction to Bidders (ITB) provides the information necessary for bidders to prepare responsive bids, in accordance with the requirements of the Procuring Entity. It also provides information on bid submission, eligibility check, opening and evaluation of bids, post-qualification, and on the award of contract.

### Scope of Bid

The Procuring Entity, Davao del Norte District Engineering Office invites Bids for the Construction (Completion) of Tagum City Diagnostic Social Services, Complex, City Hall Grounds, Tagum City, Davao del Norte, with Project Identification Number 25LC0074.

[Note: The Project Identification Number is assigned by the Procuring Entity based on its own coding scheme and is not the same as the PhilGEPS reference number, which is generated after the posting of the bid opportunity on the PhilGEPS website.]

The Procurement Project (referred to herein as “Project”) is for the construction of Works, as described in Section VI (Specifications).

### Funding Information

- The GOP through the source of funding as indicated below for FY 2025 GAA in the amount of 144,750,000.00

- The source of funding is:

- NGA, the General Appropriation’s Acts.

### Bidding Requirements

The Bidding for the Project shall be governed by all the provisions of RA No. 9184 and its 2016 revised IRR, including its Generic Procurement Manual and associated policies, rules and regulations as the primary source thereof, while the herein clauses shall serve as the secondary source thereof.

Any amendments made to the IRR and other GPPB issuances shall be applicable only to the ongoing posting, advertisement, or invitation to bid by the BAC through the issuance of a supplemental or bid bulletin.

The Bidder, by the act of submitting its Bid, shall be deemed to have inspected the site, determined the general characteristics of the contracted Works and the conditions for this Project, such as  the location and the nature of the work; (b) climatic conditions; (c) transportation facilities; (c) nature and condition of the terrain, geological conditions at the site communication facilities, requirements, location and availability of construction aggregates and other materials, labor, water, electric power and access roads; and (d) other factors that may affect the cost, duration and execution or implementation of the contract, project, or work and examine all instructions, forms, terms, and project requirements in the Bidding Documents.

### Corrupt, Fraudulent, Collusive, Coercive, and Obstructive Practices

The Procuring Entity, as well as the Bidders and Contractors, shall observe the highest standard of ethics during the procurement and execution of the contract.  They or through an agent shall not engage in corrupt, fraudulent, collusive, coercive, and obstructive practices defined under Annex “I” of the 2016 revised IRR of RA No. 9184 or other integrity violations in competing for the Project.

### Eligible Bidders

- Only Bids of Bidders found to be legally, technically, and financially capable will be evaluated.

- The Bidder must have an experience of having completed a Single Largest Completed Contract (SLCC) that is similar to this Project, equivalent to at least fifty percent (50%) of the ABC adjusted, if necessary, by the Bidder to current prices using the PSA’s CPI, except under conditions provided for in Section 23.4.2.4 of the 2016 revised IRR of RA No. 9184.

A contract is considered to be “similar” to the contract to be bid if it has the major categories of work stated in the BDS.

- For Foreign-funded Procurement, the Procuring Entity and the foreign government/foreign or international financing institution may agree on another track record requirement, as specified in the Bidding Document prepared for this purpose.

- The Bidders shall comply with the eligibility criteria under Section 23.4.2 of the 2016 IRR of RA No. 9184.

### Origin of Associated Goods

There is no restriction on the origin of Goods other than those prohibited by a decision of the UN Security Council taken under Chapter VII of the Charter of the UN.

### Subcontracts

- The Bidder may subcontract portions of the Project to the extent allowed by the Procuring Entity as stated herein, but in no case more than fifty percent (50%) of the Project.

The Procuring Entity has prescribed that:

- Subcontracting is not allowed.

### Pre-Bid Conference

The Procuring Entity will hold a pre-bid conference for this Project on the specified date and time and either at its physical address and/or through videoconferencing/webcasting} as indicated in paragraph 8 of the IB.

### Clarification and Amendment of Bidding Documents

Prospective bidders may request for clarification on and/or interpretation of any part of the Bidding Documents.  Such requests must be in writing and received by the Procuring Entity, either at its given address or through electronic mail indicated in the IB, at least ten (10) calendar days before the deadline set for the submission and receipt of Bids.

### Documents Comprising the Bid: Eligibility and Technical Components

- The first envelope shall contain the eligibility and technical documents of the Bid as specified in Section IX. Checklist of Technical and Financial Documents.

- If the eligibility requirements or statements, the bids, and all other documents for submission to the BAC are in foreign language other than English, it must be accompanied by a translation in English, which shall be authenticated by the appropriate Philippine foreign service establishment, post, or the equivalent office having jurisdiction over the foreign bidder’s affairs in the Philippines.  For Contracting Parties to the Apostille Convention, only the translated documents shall be authenticated through an apostille pursuant to GPPB Resolution No. 13-2019 dated 23 May 2019. The English translation shall govern, for purposes of interpretation of the bid.

- A valid PCAB License is required, and in case of joint ventures, a valid special PCAB License, and registration for the type and cost of the contract for this Project. Any additional type of Contractor license or permit shall be indicated in the BDS.

- A List of Contractor’s key personnel (e.g., Project Manager, Project Engineers, Materials Engineers, and Foremen) assigned to the contract to be bid, with their complete qualification and experience data shall be provided.  These key personnel must meet the required minimum years of experience set in the BDS.

- A List of Contractor’s major equipment units, which are owned, leased, and/or under purchase agreements, supported by proof of ownership, certification of availability of equipment from the equipment lessor/vendor for the duration of the project, as the case may be, must meet the minimum requirements for the contract set in the BDS.

### Documents Comprising the Bid: Financial Component

- The second bid envelope shall contain the financial documents for the Bid as specified in Section IX. Checklist of Technical and Financial Documents.

- In compliance with Section 17 of DOLE D.O 13, the implementation of construction safety shall be considered in all stages of project procurement (design, estimate, and construction) and its cost shall be integrated to the overall project cost under Pay Item “B.7(1) Occupational Safety and Health” as a lump sum amount, to be quantified in the detailed estimate.

- Any bid exceeding the ABC indicated in paragraph 1 of the IB shall not be accepted.

- For Foreign-funded procurement, a ceiling may be applied to bid prices provided the conditions are met under Section 31.2 of the 2016 revised IRR of RA No. 9184.

### Alternative Bids

Bidders shall submit offers that comply with the requirements of the Bidding Documents, including the basic technical design as indicated in the drawings and specifications.  Unless there is a value engineering clause in the BDS, alternative Bids shall not be accepted.

### Bid Prices

All bid prices for the given scope of work in the Project as awarded shall be considered as fixed prices, and therefore not subject to price escalation during contract implementation, except under extraordinary circumstances as determined by the NEDA and approved by the GPPB pursuant to the revised Guidelines for Contract Price Escalation guidelines.

### Bid and Payment Currencies

  - Bid prices may be quoted in the local currency or tradeable currency accepted by the BSP at the discretion of the Bidder.  However, for purposes of bid evaluation, Bids denominated in foreign currencies shall be converted to Philippine currency based on the exchange rate as published in the BSP reference rate bulletin on the day of the bid opening.

  - Payment of the contract price shall be made in:

- Philippine Pesos.

### Bid Security

- The Bidder shall submit a Bid Securing Declaration or any form of Bid Security in the amount indicated in the BDS, which shall be not less than the percentage of the ABC in accordance with the schedule in the BDS.

- The Bid and bid security shall be valid until 120 CD from the date of the Opening of bids.  Any bid not accompanied by an acceptable bid security shall be rejected by the Procuring Entity as non-responsive.

### Sealing and Marking of Bids

Each Bidder shall submit one copy of the first and second components of its Bid.

The Procuring Entity may request additional hard copies and/or electronic copies of the Bid. However, failure of the Bidders to comply with the said request shall not be a ground for disqualification.

If the Procuring Entity allows the submission of bids through online submission to the given website or any other electronic means, the Bidder shall submit an electronic copy of its Bid, which must be digitally signed. An electronic copy that cannot be opened or is corrupted shall be considered non-responsive and, thus, automatically disqualified.

### Deadline for Submission of Bids

The Bidders shall submit on the specified date and time and either at its physical address or through online submission as indicated in paragraph 10 of the IB.

### Opening and Preliminary Examination of Bids

- The BAC shall open the Bids in public at the time, on the date, and at the place specified in paragraph 11 of the IB. The Bidders’ representatives who are present shall sign a register evidencing their attendance. In case videoconferencing, webcasting or other similar technologies will be used, attendance of participants shall likewise be recorded by the BAC Secretariat.

In case the Bids cannot be opened as scheduled due to justifiable reasons, the rescheduling requirements under Section 29 of the 2016 revised IRR of RA No. 9184 shall prevail.

- The preliminary examination of Bids shall be governed by Section 30 of the 2016 revised IRR of RA No. 9184.

### Detailed Evaluation and Comparison of Bids

- The Procuring Entity’s BAC shall immediately conduct a detailed evaluation of all Bids rated “passed” using non-discretionary pass/fail criteria.  The BAC shall consider the conditions in the evaluation of Bids under Section 32.2 of 2016 revised IRR of RA No. 9184.

- If the Project allows partial bids, all Bids and combinations of Bids as indicated in the BDS shall be received by the same deadline and opened and evaluated simultaneously so as to determine the Bid or combination of Bids offering the lowest calculated cost to the Procuring Entity.  Bid Security as required by ITB Clause 15 shall be submitted for each contract (lot) separately.

- In all cases, the NFCC computation pursuant to Section 23.4.2.6 of the 2016 revised IRR of RA No. 9184 must be sufficient for the total of the ABCs for all the lots participated in by the prospective Bidder.

### Post Qualification

Within a non-extendible period of five (5) calendar days from receipt by the Bidder of the notice from the BAC that it submitted the Lowest Calculated Bid, the Bidder shall submit its latest income and business tax returns filed and paid through the BIR Electronic Filing and Payment System (eFPS), and other appropriate licenses and permits required by law and stated in the BDS.

### Signing of the Contract

The documents required in Section 37.2 of the 2016 revised IRR of RA No. 9184 shall form part of the Contract. Additional Contract documents are indicated in the BDS.

# Section III. Bid Data Sheet

Notes on the Bid Data Sheet (BDS) The Bid Data Sheet (BDS) consists of provisions that supplement, amend, or specify in detail, information, or requirements included in the ITB found in Section II, which are specific to each procurement. This Section is intended to assist the Procuring Entity in providing the specific information in relation to corresponding clauses in the ITB and has to be prepared for each specific procurement. The Procuring Entity should specify in the BDS information and requirements specific to the circumstances of the Procuring Entity, the processing of the procurement, and the bid evaluation criteria that will apply to the Bids. In preparing the BDS, the following aspects should be checked: - Information that specifies and complements provisions of the ITB must be incorporated. - Amendments and/or supplements, if any, to provisions of the ITB as necessitated by the circumstances of the specific procurement, must also be incorporated.

Bid Data Sheet

| ITB Clause |  |
| --- | --- |
| 1.1 | The Procuring Entity is Davao del Norte District Engineering Office. The scope of the Works under this Contract is Construction (Completion) of Tagum City Diagnostic Social Services The Contract Name is Construction (Completion) of Tagum City Diagnostic Social Services, Complex, City Hall Grounds, Tagum City, Davao del Norte The Contract ID is 25LC0074. |
| 2. | The Approved Budget for the Contract is 144,750,000.00 The Funding Source is the Government of the Philippines through FY 2025 GAA - SIPAG The name of the Project is Construction (Completion) of Tagum City Diagnostic Social Services, Complex, City Hall Grounds, Tagum City, Davao del Norte |
| 5 | Bidding is restricted to eligible bidders as defined in ITB Clause 5.1. (1) The following are the “Major Categories of Works” involved in the contact to be bid: a. BICWOPLC: Buildings: Construction – Without Piles – Low Rise – Concrete (Frame) (1 to 5 Storeys) (2) The following are the “Similar Categories of Works” that shall be considered in the evaluation of the work experience required for the contract to be bid a. BICWPHCCP: Buildings: Construction – with Piles – High Rise – Concrete (Frame) – Cast-in-Place Piles b. BICWPLCCP: Buildings: Construction – with Piles – Low Rise – Concrete (Frame) – Cast-in Place Piles c. BICWPHCDP: Buildings: Construction – with Piles – High Rise – Concrete (Frame) – Driven Piles d. BICWPLCDP: Buildings: Construction – with Piles – Low Rise – Concrete (Frame) – Driven Piles e. BICWOPHC: Buildings: Construction – without Piles – High Rise – Concrete (Frame) f. BIL: Buildings: Industrial Plant – Low Rise g. BIL - Buildings: Industrial Pant - High Rise h. BIM - Buildings: Industrial Pant - Medium Rise |
| 7 | “Subcontracting is not allowed.” |
| 8 | The Procuring Entity will hold a Pre-Bid Conference for this Project on July 02, 2025 9:00 AM at Conference Room, DPWH Davao del Norte District Engineering Office, Tagum City, Davao del Norte and through video-conferencing/webcasting via Facebook Live which shall be open to prospective bidders. |
|  | Electronic Bidding in accordance with GPPB Resolution No. 23-2013 will not be adopted in this procurement. |
| 9 | The Procuring Entity’s address is: LEO ALEX A. MABANGLO BAC Chairperson dpwhddn.procurement@gmail.com |
| 10.1 | No further instructions. |
| 10.3 | Bidders must ensure to the adherence to Department Order 110 s 2024 for the Implementation of ISO 9001:2015 Certification Requirement for Large “A”, Medium “B”, and Medium “A” Contractors in the Procurement of Infrastructure Projects of the Department, hence bidders must attach to the technical envelope their ISO 9001:2015 Certification, failure to attach will lead to the disqualification of their bid. This requirement applies to the following PCAB size range and their effectivity to wit; PCAB Size Range; Allowable Range of Contract (ARCC); Effectivity. Large “A”; More than P300 Million but less than P450 Million; January 01, 2025. Medium “B”; More than P150 Million but less than P300 Million; July 01, 2025. Medium “A”; More than P30 Million but less than P150 Million; January 01, 2026. |
| 10.4 | The minimum work experience requirements for the key personnel are the following: Key Personnel; Min. Years of Similar Experience (Same Position); Min. Years of Total Work Experience (Same Position). Project Manager; 5 years; 5 years. Project Engineer; 5 years; 5 years. Materials Engineer; 5 years; 5 years. Full Time Safety Officer; 3 years; 3 years. Foreman; 3 years; 3 years. First Aider; -; -. Driver; -; -. Leadman; -; -. Mason; -; -. Carpenter; -; -. Roof Installer/Tinsmith; -; -. Painter; -; -. Welder; -; -. Unskilled Labor; -; -. Electrician; -; -. Equipment Operator. As per Department Order No. 252, series of 2025 issued by the Department of Labor and Employment (DOLE), Revised Implementing Rules and Regulations of Republic Act No. 11058 Entitled “An Act Strengthening Compliance with Occupational Safety and Health Standards and Providing Penalties for Violations Thereof”, under Section 10 – Safety in the Use of Equipment, to quote: “Operators shall undergo appropriate training and certification from the Technical Education and Skills Development Authority (TESDA), the Professional Regulation Commission, or other relevant government agencies before using the equipment. The DOLE may recognize training provided by equipment manufacturers, suppliers, or international organizations if it is not available locally.” Accredited Safety Officer, requirements for approval of Construction Safety & Health Program (Required Upon issuance of Notice of Award), in compliance with DOLE Department Order No. 252, series of 2025 under Section 22- Occupational Safety and Health Standards for the Construction Industry. First Aider w/ certificate of Training issued by Philippine Red Cross or an organization authorized by the Secretary of Labor and Employment (SOLE), requirements for the approval of Construction Safety & Health Program (Required Upon issuance of Notice of Award) in compliance with DOLE Department Order No. 252, series of 2025 under Section 22- Occupational Safety and Health Standards for the Construction Industry. The key personnel should meet the following number of years’ work experience. - The experience means total years of civil works experience (of any nature in construction and engineering consultancy services) - Include the Tax Identification Number (TIN) of the Key Personnel. Compliance to D.O. 98 series of 2016: Revised Guidelines on the Accreditation of Contractors’/Consultants’ Materials Engineer. - Include the contact number of the Materials Engineer - If a proposed Key Technical Personnel is an employee of the bidder and working on another project at the time of the bidding, the bidder shall submit a Certificate that (1) the personnel will be pulled out from the ongoing project once the bidder is awarded the contract; and (2) He/She will be replaced with another person with equal or better qualification, as certified by the Head of the Implementing Office, pursuant to Department Order No. 9, series 2012. - The bidder may propose a Key Technical Personnel who is not its employee provided that the said personnel is required to submit a certification that he/she will work for the bidder if it is awarded the contract under bidding. - The certification shall be included in the first envelope of the sealed bid. - Pursuant to Department Order No. 148, Series of 2024. Only accredited project engineer may be assigned to DPWH projects, subject to the following limits of assignments: For Regional/District offices Classification; Limits of Assignment. PE II; Ten (10) contracts located within the same region for simultaneous assignments, but with an aggregate cost of Php 1.5B. PE I; Ten (10) contracts located within the same region for simultaneous assignments, each costing not more than Php 150M, but with an aggregate cost of Php 1.0B. Provisional Project Engineer; Ten (10) contracts located within the same region for simultaneous assignments, each costing not more than Php 100M, but with an aggregate cost of Php 500M. |
| 10.5 | - The minimum major equipment requirements are the following: Description; Capacity; Required Units. Backhoe; (0.80m3); 1. Dump truck; (12yd3); 1. Plate Compactor; 5 hp; 1. Concrete Vibrator; 5 amp; 1. One Bagger Mixer; 4-6 ft3/min; 1. Bar Cutter; 1. Bar Bender; 1. Welding Machine; 500 amp; 1. Cutting Outfit; 1. - Laboratory Required No. Minimum Equipment of Units Capacity/Unit a. Pursuant to D.O. 58, s 2012, the pledge equipment shall be listed with complete technical description, whether owned or leased, such as but not limited to the engine number, year model, chassis number, plate number, production capacity and load capacity. In additional, the prospective bidders should also be required to state in their bid documents the particular place or site where the equipment are located as provided for under D.O. No. 09, s. 2012, Annex A. b. If any piece of equipment is not in the specified location, then the bidder shall be post-disqualified, pursuant to D.O. No. 09, s. 2012. c. Failure of a prospective bidder to comply with the said requirements shall result in the bidder’s automatic post-disqualification for award of contract and forfeiture of its bid security. Please refer to D.O. 11, Series of 2017 for the minimum materials testing equipment and D.O. 127, Series of 2018, Strict Application of R.A. 9184 in the conduct of Post-Qualification of Bidders with Delayed On-Going Contracts with the DPWH. |
| 11.2 | The ABC is 144,750,000.00. Any bid with a financial component exceeding this amount shall not be accepted.” |
| 11.3 | “No further instructions.” |
| 15 | Bids shall be valid until 120 calendar days from the date set for bid opening. |
| 15.1 | The bid security shall be limited to a Bid Securing Declaration or one of the following forms in accordance with the following amounts: - The amount of not less than 2% of ABC, if bid security is in cash, cashier’s/manager’s check, bank draft/guarantee or irrevocable letter of credit; - The amount of not less than 5% of ABC, if bid security is in Surety Bond. |
| 15.2 | The Bid Security shall be valid until 120 calendar days from the date set for bid opening. |
| 12 | “No further instructions.” |
| 16 | The Bidder shall submit 2 original and 1 copies of the first (Technical) and second (Financial) components of its bid. To ensure that the authorized representative or liaison officer of the bidder has authority to submit bid and participate, he/she should be registered in the Civil Works Application and must present his/her valid Company ID. Otherwise, those who are not registered in the CWA should have duly notarized Special Power of Attorney (SPA) or Secretary’s Certificate attesting to such fact, if the Bidder is a corporation, participate, cooperative, or joint venture and must present his/her valid Company ID. |
| 16 | The specific identification of this bidding process is 25LC0074 – Construction (Completion) of Tagum City Diagnostic Social Services, Complex, City Hall Grounds, Tagum City, Davao del Norte |
| 17 | Bid submission maybe done manually or electronically/online. However, bidders should only select one mode of submission, either manual or electronic. The address for receipt of Bids submitted manually is DPWH Davao del Norte District Engineering Office, Tagum City, Davao del Norte. The deadline for receipt of Bids is on July 15, 2025 10:00 AM For bids to be submitted electronically/online, the following procedures should be observed following D.O. 87-2020: - Submission of electronic Official Receipt of purchase of the Bidding Documents Prior to the deadline of submission of bids, the prospective bidders shall send an e-mail with subject “Official Receipt for [Insert Contract ID]” to [Insert dedicated e-mail address]. Attached to the said e-mail is the copy of the Official Receipt of purchase of bidding documents in Portable Document File (PDF) format with file name in the format “<PCAB ID>_<CONTRACT ID>_OfficialReceipt.pdf”. For example, the filename of the attached PDF containing the Official Receipt of the Contractor with PCAB ID No. 12345, who intends to participate in the bidding of Contract ID No. 20Z00123 shall be “12345_20Z00123_OfficialReceipt.pdf”. Further, the e-mail subject would be “Official Receipt for 20Z00123”. In case a prospective bidder originally intends to join the bidding as a Joint Venture (referred as “original bidder”), has been issued an Official Receipt of purchase of bidding documents and has submitted the electronic Official Receipt, but eventually decided to join the bidding with new members or as individual contractors (referred as “regrouped bidder”), or vice-versa, the “regrouped bidder” should purchase a new bidding document to be issued with the corresponding Official Receipt in their name and submit the electronic Official Receipt following the same procedures. - Confirmation of the electronically submitted Official Receipt - An e-mail shall be received by a prospective bidder confirming its successful submission of the Official Receipt as required under Item 1. Only the electronic bids of bidders who have successfully submitted an electronic Official Receipt shall be accepted. - An e-mail shall also be received by a prospective bidder in instances where their sent e-mail related to Item 1: - Has incorrect subject Contract ID, which means that a corresponding folder with the same Contract ID does not exist in the eBid Portal; - Has no attachment; - Has an attachment but is not in the prescribed format; - Has more than one (1) attachment; or - Was received after the deadline of bid submission. For the foregoing cases, the prospective bidders should rectify/correct the noted deficiency/ies to comply with the requirements under Item 1 for its electronic bid to be accepted. - Preparation and submission of an electronic Bid The prospective bidders shall prepare and submit their bids electronically following the steps prescribed under with D.O. 87-2020:in accordance with GPPB Resolution No. 09-2020 as follows: - Following GPPB Resolution No. 09-2020, a bidder has the option to submit bid electronically. However, if a bidder chooses to submit an electronic bid, the same bidder can no longer submit a bid manually for the same contract, and vice versa. - Similar to manual submission, prospective bidders shall prepare their bids in two (2) file folders, each for the Technical and Financial Components. The file name of the Technical and Financial Components folders should be in the format <PCAB ID>_<CONTRACT_ID>_TECHNICAL and <PCAB ID>_<CONTRACT_ID>_FINANCIAL (e.g. 12345 20Z00123 TECHNICAL, 12345 20Z00123 FINANCIAL). Subsequently, each of the Technical and Financial Components file folders shall be COMPRESSED, PASSWORD PROTECTED and NAMED in the format <PCAB ID>_<CONTRACT_ID>_TECHNICAL.zip (or .rar/.7z) and <PCAB ID>_<CONTRACT_ID>_FINANCIAL.zip (or .rar/.7z), respectively (e.g. 12345 20Z00123 TECHNICAL.zip, 12345 20Z00123 FINANCIAL.zip). - Each file contained in the Technical and Financial Components file folders shall be in PDF format (either scanned or exported/published), with file name in the format <PCAB ID>_<CONTRACT ID>_DescriptiveFilename.pdf (e.g. 12345 20Z00123 PCABLicense.pdf, 12345 20Z00123 OmnibusSwornStatement.pdf). - The compressed archive file folders of the Technical and Financial components shall be compiled in a PASSWORD PROTECTED COMPRESSED ARCHIVE MAIN FILE FOLDER with filename in the format <PCAB>_<CONTRACT ID>_Bid (e.g. 12345 20Z00123 Bid). In case the total file size of the main archive file folder is more than the allowable size of an attachment per e-mail of the prospective bidder’s e-mail service provider (e.g. Gmail, Yahoo Mail, Outlook), they shall need to split its electronic bid into two or more PASSWORD PROTECTED COMPRESSED ARCHIVE MAIN FILE FOLDERS. - The e-mail submitting the prospective bidder’s electronic bid should have a Subject in the format “Bid Submission for [Insert Contract ID]” (e.g. “Bid Submission for 20Z00123”). In case of multiple compressed archive main file folders, it shall be submitted in multiple e-mails, each with Subject in the format “Bid Submission [Insert Number of main archive folder]/[Insert total number of main archive folders]” (e.g. “Bid Submission 1/2 for 20Z00123”and “Bid Submission 2/2 for 20Z00123”. - The prospective bidder shall submit its electronic bid to electronicbids_davaodelnorte@dpwh.gov.ph using the prospective bidder’s e-mail address registered in the Civil Works Application (CWA). In case prospective bidders are not yet registered, they can use any e-mail address, subject to the verification of the BAC Secretariat. - Modification of an electronic bid If a bidder wishes to modify its electronic bid, he may do so following the procedures in the manual submission of bid or he may choose to submit his modification electronically in the same format prescribed in the preparation and submission of an electronic bid, except that the subject of the e-mail submitting the bid modification shall be labelled “Bid Modification X for <Contract ID>”, where “X” represents the number of bid modification submitted. For example, the subject of an e-mail submitting a first bid modification for Contract ID No. 20Z00123 should be “Bid Modification 1 for 20Z00123". - Non-participation in the Bidding In case a prospective bidder that have purchased a bidding document decided not to participate, he may choose to submit his letter of non-participation manually or electronically. In case of electronic submission, the contractor shall send an e-mail with the Subject “Non-participation for <Contract ID>” with the letter of non-participation as attachment with file name “<PCAB ID>_<CONTRACT ID>_Non-Participation.pdf”. This e-mail should be sent to electronicbids_davaodelnorte@dpwh.gov.ph before the deadline for bid submission. - Withdrawal of Electronic Bid Bids may only be withdrawn prior the deadline for bid submission. In case of withdrawal of an electronic bid, the bidder shall send an e-mail with the subject “Bid Withdrawal for <Contract ID>” and the letter of bid withdrawal in pdf format with filename “<PCAB ID>_<CONTRACT ID>_BidWithdrawal.pdf” shall be attached. This e-mail should be sent to electronicbids_davaodelnorte@dpwh.gov.ph before the deadline for bid submission. - Opening of the electronic bid Only during the actual opening of bids shall the bidder disclose the passwords for his electronic bid. This can be done by the bidder’s authorized representative verbally in person, through phone call, online platforms (e.g. videoconferencing, webcasting), or through writing. In all cases, the bidders will have only three (3) attempts or fifteen (15) minutes, whichever comes first, to provide the correct password. Otherwise, the bidder shall be disqualified except in unforeseen justifiable circumstances. The bidder may also be subjected to the three-strike policy (D.O. 17, Series of 2015) as warranted by the circumstances. If the bidder chooses to disclose the password through phone call, he should make sure that the contact numbers as recorded in the Civil Works Application are open when the BAC calls to ask for the password. The bidder may also choose to call the BAC number 09436076657 during the bid opening time and wait for the opening of his bid for him to disclose the password. For online call/video calls, the bidder may call the BAC Messenger/Skype account DPWH DAVAO DEL NORTE – BAC If the bidder chooses to disclose the passwords through writing, the letters for password 1 (Main File Folder/Technical Component File Folder) and password 2 (Financial Component File Folder) should be enclosed in separate envelopes with the sender details (AMO, Bidder Name, Address) addressed to the BAC Chairperson, with the details of the bidding (Contract ID, Contract Name, Bid Opening Date and Time), signed and sealed, with a remark “Password [ Insert 1 or 2]. Do not open before actual bid opening date and time”. All electronic bids (Password protected compressed archive main file folder/s) shall be opened first for the opening of the Technical Component compressed archive file folder/s. This shall be followed by the opening of the bids submitted manually for the opening of the Technical Component Envelopes. The same procedures apply for the Financial Component compressed archive file folder/s and financial component envelopes. If the electronic bid or file within it was found to be damaged, could not be extracted or opened, the bid shall be considered “Failed”. If the electronic bid is not password-protected or is not in the required format, the bid shall still be accepted provided that the bidder acknowledges such condition. The BAC shall assume no responsibility for the misplacement of the contents of the contents of the improperly sealed or marked bid, or improperly compressed or password-protected folder, or for its premature opening. - File name convention in case of a Joint Venture Bidder For Joint Venture (JV), the format of PCAB ID to be used by the bidder in naming their files, folders and archives shall be “JV-<PCAB ID of the Lead Member>”. For example, if three (3) Contractors with PCAB ID Nos. 12345 (lead member), 67890, and 24680 entered into a JV, the PCAB ID they must use is “JV-12345”. |
|  | Electronic Bidding in accordance with GPPB Resolution No. 23-2013 will not be adopted for the Receipt of Bids in this procurement. |
| 18 | The place of opening of Bids is Conference Room, DPWH Davao del Norte District Engineering Office, Tagum City, Davao del Norte The date and time of opening of Bids are July 15, 2025 10:00 AM |
|  | Electronic Bidding in accordance with GPPB Resolution No. 23-2013 will not be adopted for Bids Opening and Preliminary Examination in this procurement. |
| 20 | List additional contract documents relevant to the Project that may be required by existing laws and/or the Procuring Entity, such as construction schedule and S-curve, manpower schedule, construction methods, equipment utilization schedule construction safety and health program approved by the Department of Public Works and Highways, and Precedence Diagram Method (PDM). |
|  | Electronic Bidding in accordance with GPPB Resolution No. 23-2013 will not be adopted for Post-Qualification in this procurement. |
| 21 | All DPWH implemented infrastructure projects must adhere to the Department Order 241 Series of 2024, the Guidelines on the Processing, Approval and Reporting System of Construction Safety and Health Program (CHSP) for DPWH Infrastructure projects. |

# Section IV. General Conditions of Contract

Notes on the General Conditions of Contract The General Conditions of Contract (GCC) in this Section, read in conjunction with the Special Conditions of Contract in Section V and other documents listed therein, should be a complete document expressing all the rights and obligations of the parties. Matters governing performance of the Contractor, payments under the contract, or matters affecting the risks, rights, and obligations of the parties under the contract are included in the GCC and Special Conditions of Contract. Any complementary information, which may be needed, shall be introduced only through the Special Conditions of Contract.

### Scope of Contract

This Contract shall include all such items, although not specifically mentioned, that can be reasonably inferred as being required for its completion as if such items were expressly mentioned herein. All the provisions of RA No. 9184 and its 2016 revised IRR, including the Generic Procurement Manual, and associated issuances, constitute the primary source for the terms and conditions of the Contract, and thus, applicable in contract implementation.  Herein clauses shall serve as the secondary source for the terms and conditions of the Contract.

This is without prejudice to Sections 74.1 and 74.2 of the 2016 revised IRR of RA No. 9184 allowing the GPPB to amend the IRR, which shall be applied to all procurement activities, the advertisement, posting, or invitation of which were issued after the effectivity of the said amendment.

### Sectional Completion of Works

If sectional completion is specified in the Special Conditions of Contract (SCC), references in the Conditions of Contract to the Works, the Completion Date, and the Intended Completion Date shall apply to any Section of the Works (other than references to the Completion Date and Intended Completion Date for the whole of the Works).

### Possession of Site

  - The Procuring Entity shall give possession of all or parts of the Site to the Contractor based on the schedule of delivery indicated in the SCC, which corresponds to the execution of the Works.  If the Contractor suffers delay or incurs cost from failure on the part of the Procuring Entity to give possession in accordance with the terms of this clause, the Procuring Entity’s Representative shall give the Contractor a Contract Time Extension and certify such sum as fair to cover the cost incurred, which sum shall be paid by Procuring Entity.

  - If possession of a portion is not given by the above date, the Procuring Entity will be deemed to have delayed the start of the relevant activities.  The resulting adjustments in contract time to address such delay may be addressed through contract extension provided under Annex “E” of the 2016 revised IRR of RA No. 9184.

### The Contractor’s Obligations

The Contractor shall employ the key personnel named in the Schedule of Key Personnel indicating their designation, in accordance with ITB Clause 10.3 and specified in the BDS, to carry out the supervision of the Works.

The Procuring Entity will approve any proposed replacement of key personnel only if their relevant qualifications and abilities are equal to or better than those of the personnel listed in the Schedule.

### Performance Security

- Within ten (10) calendar days from receipt of the Notice of Award from the Procuring Entity but in no case later than the signing of the contract by both parties, the successful Bidder shall furnish the performance security in any of the forms prescribed in Section 39 of the 2016 revised IRR.

- The Contractor, by entering into the Contract with the Procuring Entity, acknowledges the right of the Procuring Entity to institute action pursuant to  RA No. 3688 against any subcontractor be they an individual, firm, partnership, corporation, or association supplying the Contractor with labor, materials and/or equipment for the performance of this Contract.

### Site Investigation Reports

The Contractor, in preparing the Bid, shall rely on any Site Investigation Reports referred to in the SCC supplemented by any information obtained by the Contractor.

### Warranty

- In case the Contractor fails to undertake the repair works under Section 62.2.2 of the 2016 revised IRR, the Procuring Entity shall forfeit its performance security, subject its property(ies) to attachment or garnishment proceedings, and perpetually disqualify it from participating in any public bidding. All payables of the GOP in his favor shall be offset to recover the costs.

- The warranty against Structural Defects/Failures, except that occasioned-on force majeure, shall cover the period from the date of issuance of the Certificate of Final Acceptance by the Procuring Entity.  Specific duration of the warranty is found in the SCC.

### Liability of the Contractor

Subject to additional provisions, if any, set forth in the SCC, the Contractor’s liability under this Contract shall be as provided by the laws of the Republic of the Philippines.

If the Contractor is a joint venture, all partners to the joint venture shall be jointly and severally liable to the Procuring Entity.

### Termination for Other Causes

Contract termination shall be initiated in case it is determined prima facie by the Procuring Entity that the Contractor has engaged, before, or during the implementation of the contract, in unlawful deeds and behaviors relative to contract acquisition and implementation, such as, but not limited to corrupt, fraudulent, collusive, coercive, and obstructive practices as stated in ITB Clause 4.

### Dayworks

Subject to the guidelines on Variation Order in Annex “E” of the 2016 revised IRR of RA No. 9184, and if applicable as indicated in the SCC, the Dayworks rates in the Contractor’s Bid shall be used for small additional amounts of work only when the Procuring Entity’s Representative has given written instructions in advance for additional work to be paid for in that way.

### Program of Work

  - The Contractor shall submit to the Procuring Entity’s Representative for approval the said Program of Work showing the general methods, arrangements, order, and timing for all the activities in the Works. The submissions of the Program of Work are indicated in the SCC.

  - The Contractor shall submit to the Procuring Entity’s Representative for approval an updated Program of Work at intervals no longer than the period stated in the SCC.  If the Contractor does not submit an updated Program of Work within this period, the Procuring Entity’s Representative may withhold the amount stated in the SCC from the next payment certificate and continue to withhold this amount until the next payment after the date on which the overdue Program of Work has been submitted.

### Instructions, Inspections and Audits

The Contractor shall permit the GOP or the Procuring Entity to inspect the Contractor’s accounts and records relating to the performance of the Contractor and to have them audited by auditors of the GOP or the Procuring Entity, as may be required.

### Advance Payment

The Procuring Entity shall, upon a written request of the Contractor which shall be submitted as a Contract document, make an advance payment to the Contractor in an amount not exceeding fifteen percent (15%) of the total contract price, to be made in lump sum, or at the most two installments according to a schedule specified in the SCC, subject to the requirements in Annex “E” of the 2016 revised IRR of RA No. 9184.

### Progress Payments

The Contractor may submit a request for payment for Work accomplished.  Such requests for payment shall be verified and certified by the Procuring Entity’s Representative/Project Engineer.  Except as otherwise stipulated in the SCC, materials and equipment delivered on the site but not completely put in place shall not be included for payment.

### Operating and Maintenance Manuals

- If required, the Contractor will provide “as built” Drawings and/or operating and maintenance manuals as specified in the SCC.

- If the Contractor does not provide the Drawings and/or manuals by the dates stated above, or they do not receive the Procuring Entity’s Representative’s approval, the Procuring Entity’s Representative may withhold the amount stated in the SCC from payments due to the Contractor.

# Section V. Special Conditions of Contract

Notes on the Special Conditions of Contract Similar to the BDS, the clauses in this Section are intended to assist the Procuring Entity in providing contract-specific information in relation to corresponding clauses in the GCC found in Section IV. The Special Conditions of Contract (SCC) complement the GCC, specifying contractual requirements linked to the special circumstances of the Procuring Entity, the Procuring Entity’s country, the sector, and the Works procured. In preparing this Section, the following aspects should be checked: - Information that complements provisions of the GCC must be incorporated. - Amendments and/or supplements to provisions of the GCC as necessitated by the circumstances of the specific purchase, must also be incorporated. However, no special condition which defeats or negates the general intent and purpose of the provisions of the GCC should be incorporated herein.

Special Conditions of Contract

| GCC Clause |  |
| --- | --- |
| 1 | The Intended Completion is Three Hundred Sixty-Five (365) calendar days from the Effective Date of the Contract. Contract Duration breakdown: No. of Working Days . . . . . . . . . . . .; 300 Cal. Days. No. of Unworkable Days . . . . . . . . . . . .; 65 Cal. Days. |
|  | The Procuring Entity is DPWH, Davao del Norte District Engineering Office, Tagum City, Davao del Norte Province |
|  | The Procuring Entity’s Representative is LEO ALEX A. MABANGLO, BAC Chairperson, DPWH, Davao del Norte District Engineering Office, Tagum City, Davao del Norte Province |
|  | The Site is located at Davao del Norte Province |
|  | The Start Date is effective upon the date of the Contractor’s date of receipt of Notice to Proceed |
|  | The Works consist of: Permits and Clearances, Project Billboard/Sign Board, Occupational Safety and Health, Mobilization/Demobilization, Signages, Removal of Structures & Obstruction, Structure Excavation (Common Soil), Embankment from Roadway/Structure Excavation (Common Soil), Embankment from Borrow (Common Soil), Gravel Fill, Structural Concrete (Slab on Fill, Class B, 28 days), Structural Concrete (Suspended Slab, Class A, 28 days, 4000PSI), Reinforcing Steel (Deformed), Grade 40, Reinforcing Steel (Deformed), Grade 60, Formworks and Falseworks, 100mm CHB Non-Load Bearing (including Reinforcing Steel), Frames (Jambs, Sill, Head, Transoms and Mullions), Wooden Panel Door, Flush Door, Roll-Up Doors, Aluminum Framed Glass Door (Sliding Type), Aluminum Framed Glass Door (Swing Type), Aluminum Glass Windows (Sliding Type), Aluminum Glass Windows (Awning Type), Aluminum Glass Windows (Fixed Type), Tempered Glass, 12mm (Wall Partition), Finishing Hardware, Carpentry and Joinery Works (Phenolic Doors and Wall, PVC Ceiling, Cabinet, & LED Sheet Panel), Vinyl Floor Tile, Cement Plaster Finish, Railings, Granite Tiles, Ceiling (Prepainted Metal Panel on Metal Frame), Wall (4.5mm Fiber Cement Board on Metal Frame), Aluminum Cladding, Floor Finishes (Rubberized Paint), Glazed Tiles, Unglazed Tiles, Painting Works (Masonry/Concrete), Painting Works (Wood), Painting Works (Steel), Pre-Painted Metal Sheets (above 0.427mm Corrugated Long Span), Structural Steel, Structural Steel, Cladding Frame, Structural Steel, Purlins, Metal Structure Accessories, Sewer/Sanitary Line Works, Cold Water Lines, Plumbing Fixtures, Conduits, Boxes & Fittings (Conduit Works/Conduit Rough-in), Wires and Wiring Devices, Panel Board with Main & Branch Breakers, Pad Mounted Distribution Transformer (OISC) with Complete Accessories, Single or Three Phase, Pole Type or Platform, Lighting Fixtures and Lamps, Auxiliary System, CCTV System, Oscillating Fan (Ceiling Fan), Exhaust Fan (Ceiling Cassette), Airconditioning, Automatic Fire Sprinkler System (AFSS), Service Elevator, Fire Alarm System, Water Pumping System, Water Tank (Stainless), Water Treatment Plant (WTP) , Modular/Skid Type, Sewage Treatment Plant (STP) – Dynamic Sequential Batch Reactor (SBR) Process |
| 2 | Not Applicable |
| 3 | The Procuring Entity shall give possession of all parts of the Site to the Contractor upon issuance of Notice to Proceed. |
| 4 | The Contractor shall employ the following Key Personnel: - Project Manager - Project Engineer - Accredited Materials & Quality Control Engineer; - Foreman - Construction Safety Officer. The names of the Key Personnel and their designation shall be filled out by winning contractor prior to contract signing |
| 5 | The Contractor shall pay liquidated damages to the Procuring Entity for each day that the Completion Date is later than the Intended Completion Date. The applicable liquidated damages is at least one-tenth (1/10) of a percent of the cost of the unperformed portion for every day of delay. The total amount of liquidated damages shall not exceed ten percent (10%) of the amount of the contract. The Procuring Entity may deduct liquidated damages from payments due to the Contractor. Payment of liquidated damages shall not affect the Contractor’s liabilities. Once the cumulative amount of liquidated damages reaches ten percent (10%) of the amount of this Contract, the Procuring Entity may rescind or terminate this Contract, without prejudice to other courses of action and remedies open to it. In case the Contractor fails to comply with the preceding paragraph, the Procuring Entity shall forfeit its performance security, subject its properties to attachment or garnishment proceedings, and perpetually disqualify it from participating in any public bidding. All payables of the GOP in his favor shall be offset to recover the costs |
| 6 | “No further instructions.” |
| 7 | Warranty Security Permanent Structures: Fifteen (15) years Buildings of types 4 and 5 as classified under the National Building Code of the Philippines and other structures made of steel, iron, or concrete which comply with relevant structural codes (e.g. DPWH Standard Specifications) such as, but not limited to steel/concrete bridges, flyovers, aircraft movement areas, ports, dams, tunnels, filtration and treatment plants, sewerage systems, power plants, transmission and communication towers, railway system, and other similar permanent structures. |
| 8 | “No further instructions.” |
| 9 | No Day works are applicable to the contract. |
| 10 | “No further instructions.” |
| 11 | The Funding Source is the Government of the Philippines |
| 12 | The amount of the advance payment is an amount not to exceed fifteen percent (15%) of the total Contract Price, to be made in lump sum or, at most, two installments. |
| 13 | Materials and equipment delivered on the site but not completely put in place shall not be included for payments |
| 14.1 | The date by which the As-Built Drawings and/or Operating and Maintenance Manuals are required when 95% of Contract cost completed |
| 14.2 | The amount to be withheld for failing to supply the As-Built Drawings and/or Operating and Maintenance Manuals by the date required is (equal 5% of Contract Price) |

# Section VI. Specifications

- DPWH Standards

The DPWH Standard Specifications for Public Works and Highways (“Blue Book”) shall be the main basis for the standards and codes to be met by the goods and materials to be furnished and work performed or tested for the Contract. In Particular, Volume II of the Blue Book Shall be used if the Contract pertains to Highways, Bridges and Airports. Volume III of the Blue Book shall be used if the Contract pertains to Buildings, Flood Control and Drainage, or Water Supply. The Blue Book incorporates standards of the American Association of State Highway and Transportation Officials (AASHTO), American Society for Testing and Materials (ASTM), and American Concrete Institute (ACI), among others, pertaining to construction.

The Procuring Entity shall use the Standard Pay Items per Department Order 60 Series 2023 in the Project and Contract Management Application (PCMA) in drawing up the Specifications.

- Modifications of Standards

  - Modifications of and additions to standards and codes as stated in the DPWH Standards Specification for Public Works and Highways, if any, shall be included in enclosed Supplemental Specifications, which is part of these Bidding Documents.

  - Entries in the Supplement Specifications are numbered to coincide with the      numbering of items in the DPWH Standard Specification for Public Works and Highways.

# Section VII. Drawings

(See separate file)

# Section VIII. Bill of Quantities

SUMMARY OF BID PRICES

(All Part of Bill of Quantities)

Instructions for completing the Summary of Bid Prices:

- Part No. – Enter the “Part No.” for each section of the Bill of Quantities (BOQ) where unit prices are entered.

- Part Description – Enter the “Part Description” corresponding to the “Part No.”

- Total Amount – Enter the “Total Amount” in Pesos for all pages having the same “Part Description”

| Part No. B C D E F G K L | Description Other General Requirements Earthworks Reinforced Concrete Finishing and Other Civil Works Electrical Works Mechanical Works Water Supply Flood and River Control and Drainage | Total Amount P___________________ P___________________ P___________________ P___________________ P___________________ P___________________ P___________________ P___________________ |
| --- | --- | --- |
| ###### Total of All Amounts |  |  |
| Total of All Amounts in words: Pesos __________________________________________________________________________ And_____________________________________centavos_________________________________ |  |  |

| Name |  | In the capacity of |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Signed |  | Date |  |  |  |  |  |
| Duly authorized to sign the Bid for and on behalf of |  |  |  |  |  |  |  |

BILL OF QUANTITIES

Part No. B	                                                                Description: OTHER GENERAL REQUIREMENTS

| Pay Item No. | ##### Description | Unit | Quantity | ##### Unit Price (Pesos) | ##### Amount (Pesos) |
| --- | --- | --- | --- | --- | --- |
| (1) | (2) | (3) | (4) | (5) | (6) |
| B.3(1) | Permits and Clearances | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ ____________________ ____________________ In Figures: _____________ |
| B.5(1) | Project Billboard/Signboard | ea | 2.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ ____________________ ____________________ In Figures: _____________ |
| B.7(1) | Occupational Safety and Health | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ ____________________ ____________________ In Figures: _____________ |
| B.9(1) | Mobilization/Demobilization | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ ____________________ ____________________ In Figures: _____________ |
| Total for this Page: |  |  |  |  | In words:______________ _____________________ _____________________ In Figures: _____________ |

| Name of the Representative of the Bidder |  |  |  |
| --- | --- | --- | --- |
| Position |  |  |  |
| Name of the Bidder |  |  |

BILL OF QUANTITIES

Part No. B	                                                                Description: OTHER GENERAL REQUIREMENTS

| Pay Item No. | ##### Description | Unit | Quantity | ##### Unit Price (Pesos) | ##### Amount (Pesos) |
| --- | --- | --- | --- | --- | --- |
| (1) | (2) | (3) | (4) | (5) | (6) |
| B.26(11) | Signages | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ ____________________ ____________________ In Figures: _____________ |
| Total for this Page: |  |  |  |  | In words:______________ ____________________ ____________________ In Figures: _____________ |
| Total for this Part: |  |  |  |  | In words:______________ _____________________ _____________________ In Figures: _____________ |

| Name of the Representative of the Bidder |  |  |  |
| --- | --- | --- | --- |
| Position |  |  |  |
| Name of the Bidder |  |  |

BILL OF QUANTITIES

Part No. C	                                                                                                    Description: EARTHWORKS

| Pay Item No. | ##### Description | Unit | Quantity | ##### Unit Price (Pesos) | ##### Amount (Pesos) |
| --- | --- | --- | --- | --- | --- |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 801(1) | Removal of Structures & Obstruction | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ ____________________ ____________________ In Figures: _____________ |
| 803(1)a | Structure Excavation (Common Soil) | m3 | 31.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ ____________________ ____________________ In Figures: _____________ |
| 804(1)a | Embankment from Roadway/Structure Excavation (Common Soil) | m3 | 25.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ ____________________ ____________________ In Figures: _____________ |
| 804(2)a | Embankment from Borrow (Common Soil) | m3 | 13.05 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ ____________________ ____________________ In Figures: _____________ |
| 804(7) | Gravel Fill | m3 | 13.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ ____________________ ____________________ In Figures: _____________ |
| Total for this Part: |  |  |  |  | In words:______________ _____________________ _____________________ In Figures: _____________ | 1.00 |

| Name of the Representative of the Bidder |  |  |  |
| --- | --- | --- | --- |
| Position |  |  |  |
| Name of the Bidder |  |  |

BILL OF QUANTITIES

Part No. D	                                              Description: REINFORCED CONCRETE

| Pay Item No. | ##### Description | Unit | Quantity | ##### Unit Price (Pesos) | ##### Amount (Pesos) |
| --- | --- | --- | --- | --- | --- |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 900(2)c | Structural Concrete (Slab on Fill, Class B, 28 days) | m3 | 227.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ ____________________ ____________________ In Figures: _____________ |
| 900(1)d | Structural Concrete (Suspended Slab, Class A, 28 days, 4000PSI) | m3 | 26.35 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ ____________________ ____________________ In Figures: _____________ |
| 902(1)a1 | Reinforcing Steel (Deformed), Grade 40 | kg | 2,617.01 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ ____________________ ____________________ In Figures: _____________ |
| 902(1)a2 | Reinforcing Steel (Deformed), Grade 60 | kg | 350.54 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ ____________________ ____________________ In Figures: _____________ |
| 903(2) | Formworks and Falseworks | m2 | 266.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ ____________________ ____________________ In Figures: _____________ |
| Total for this Part: |  |  |  |  | In words:______________ _____________________ _____________________ In Figures: _____________ |

| Name of the Representative of the Bidder |  |  |  |
| --- | --- | --- | --- |
| Position |  |  |  |
| Name of the Bidder |  |  |

BILL OF QUANTITIES

Part No. E	                                                           Description: FINISHING AND OTHER CIVIL WORKS

| Pay Item No. | ##### Description | Unit | Quantity | ##### Unit Price (Pesos) | ##### Amount (Pesos) |
| --- | --- | --- | --- | --- | --- |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 1046(2)a1 | 100mm CHB Non-Load Bearing (including reinforcing steel) | m2 | 2,717.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1010(1) | Frames (Jambs, Sill, Head, Transoms and Mullions) | set | 23.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1010(2)b | Wooden Panel Door | m2 | 19.32 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1010(2)a | Flush Door | m2 | 23.73 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1011(2) | Roll-Up Doors | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| Total for this Page: |  |  |  |  | In words:______________ _____________________ _____________________ In Figures: ____________ |

| Name of the Representative of the Bidder |  |  |  |
| --- | --- | --- | --- |
| Position |  |  |  |
| Name of the Bidder |  |  |

BILL OF QUANTITIES

Part No. E	                                                            Description: FINISHING AND OTHER CIVIL WORKS

| Pay Item No. | ##### Description | Unit | Quantity | ##### Unit Price (Pesos) | ##### Amount (Pesos) |
| --- | --- | --- | --- | --- | --- |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 1007(1)a | Aluminum Framed Glass Door (Sliding Type) | m2 | 20.58 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1007(1)b | Aluminum Framed Glass Door (Swing Type) | m2 | 90.90 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1008(1)a | Aluminum Glass Windows (Sliding Type) | m2 | 142.56 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1008(1)c | Aluminum Glass Window (Awning Type) | m2 | 6.60 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1008(1)d | Aluminum Glass Window (Fixed Type) | m2 | 783.86 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| Total for this Page: |  |  |  |  | In words:______________ _____________________ _____________________ In Figures: ____________ |

| Name of the Representative of the Bidder |  |  |  |
| --- | --- | --- | --- |
| Position |  |  |  |
| Name of the Bidder |  |  |

BILL OF QUANTITIES

Part No. E	                                                            Description: FINISHING AND OTHER CIVIL WORKS

| Pay Item No. | ##### Description | Unit | Quantity | ##### Unit Price (Pesos) | ##### Amount (Pesos) |
| --- | --- | --- | --- | --- | --- |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 1012(3)a6 | Tempered Glass, 12mm (Wall Partition) | m2 | 51.06 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1004(2) | Finishing Hardware | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1003(17) | Carpentry and Joinery Works (Phenolic Doors and Wall, PVC Ceiling, Cabinet, & LED Sheet Panel) | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1020(1) | Vinyl Floor Tile | m2 | 270.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1027(1) | Cement Plaster Finish | m2 | 5,584.62 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| Total for this Page: |  |  |  |  | In words:______________ _____________________ _____________________ In Figures: ____________ |

| Name of the Representative of the Bidder |  |  |  |
| --- | --- | --- | --- |
| Position |  |  |  |
| Name of the Bidder |  |  |

BILL OF QUANTITIES

Part No. E	                                                            Description: FINISHING AND OTHER CIVIL WORKS

| Pay Item No. | ##### Description | Unit | Quantity | ##### Unit Price (Pesos) | ##### Amount (Pesos) |
| --- | --- | --- | --- | --- | --- |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 1051(8) | Railings | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1018(3) | Granite Tiles | m2 | 148.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1003(1)e | Ceiling (Prepainted Metal Panel on Metal Frame) | m2 | 4,420.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1003(2)a1 | Wall (4.5mm Fiber Cement Board on Metal Frame) | m2 | 120.39 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1039(1) | Aluminum Cladding | m2 | 3,829.83 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| Total for this Page: |  |  |  |  | In words:______________ _____________________ _____________________ In Figures: ____________ |

| Name of the Representative of the Bidder |  |  |  |
| --- | --- | --- | --- |
| Position |  |  |  |
| Name of the Bidder |  |  |

BILL OF QUANTITIES

Part No. E	                                                            Description: FINISHING AND OTHER CIVIL WORKS

| Pay Item No. | ##### Description | Unit | Quantity | ##### Unit Price (Pesos) | ##### Amount (Pesos) |
| --- | --- | --- | --- | --- | --- |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 1021(12) | Floor Finishes (Rubberized Paint) | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1018(5) | Glazed Tiles | m2 | 153.48 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1018(2) | Unglazed Tiles | m2 | 3,912.60 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1032(1)a | Painting Works (Masonry/Concrete) | m2 | 6,709.80 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1032(1)b | Painting Works (Wood) | m2 | 791.90 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| Total for this Page: |  |  |  |  | In words:______________ _____________________ _____________________ In Figures: ____________ |

| Name of the Representative of the Bidder |  |  |  |
| --- | --- | --- | --- |
| Position |  |  |  |
| Name of the Bidder |  |  |

BILL OF QUANTITIES

Part No. E	                                                            Description: FINISHING AND OTHER CIVIL WORKS

| Pay Item No. | ##### Description | Unit | Quantity | ##### Unit Price (Pesos) | ##### Amount (Pesos) |
| --- | --- | --- | --- | --- | --- |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 1032(1)c | Painting Works (Steel) | m2 | 10,096.30 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1014(1)a2 | Pre-Painted Metal Sheets (above 0.427mm Corrugated Long Span) | m2 | 143.10 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1047(7) | Structural Steel | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1047(8)c | Structural Steel, Cladding Frame | kg | 55,387.92 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1047(8)b | Structural Steel, Purlins | kg | 1,680.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| Total for this Page: |  |  |  |  | In words:______________ _____________________ _____________________ In Figures: ____________ |

| Name of the Representative of the Bidder |  |  |  |
| --- | --- | --- | --- |
| Position |  |  |  |
| Name of the Bidder |  |  |

BILL OF QUANTITIES

Part No. E	                                                            Description: FINISHING AND OTHER CIVIL WORKS

| Pay Item No. | ##### Description | Unit | Quantity | ##### Unit Price (Pesos) | ##### Amount (Pesos) |
| --- | --- | --- | --- | --- | --- |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 1047(2) | Metal Structure Accessories | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1001(8) | Sewer/Sanitary Line Works | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1002(24) | Cold Water Lines | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1002(4) | Plumbing Fixtures | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| Total for this Page: |  |  |  |  | In words:______________ _____________________ _____________________ In Figures: ____________ |

| Name of the Representative of the Bidder |  |  |  |
| --- | --- | --- | --- |
| Position |  |  |  |
| Name of the Bidder |  |  |

BILL OF QUANTITIES

Part No. F	                                                            Description: ELECTRICAL WORKS

| Pay Item No. | ##### Description | Unit | Quantity | ##### Unit Price (Pesos) | ##### Amount (Pesos) |
| --- | --- | --- | --- | --- | --- |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 1100(10) | Conduits, Boxes & Fittings (Conduit Works/Conduit Rough-in) | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1101(33) | Wires and Wiring Devices | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1102(1) | Panel Board with Main & Branch Breakers | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1102(11) | Pad Mounted Distribution Transformer (OISC) with Complete Accessories, Single or Three Phase, Pole Type or Platform | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1103(1) | Lighting Fixtures and Lamps | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| Total for this Page: |  |  |  |  | In words:______________ _____________________ _____________________ In Figures: ____________ |

| Name of the Representative of the Bidder |  |  |  |
| --- | --- | --- | --- |
| Position |  |  |  |
| Name of the Bidder |  |  |

BILL OF QUANTITIES

Part No. F	                                                            Description: ELECTRICAL WORKS

| Pay Item No. | ##### Description | Unit | Quantity | ##### Unit Price (Pesos) | ##### Amount (Pesos) |
| --- | --- | --- | --- | --- | --- |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 1104(1) | Auxiliary System | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1106(1) | CCTV System | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| Total for this Page: |  |  |  |  | In words:______________ _____________________ _____________________ In Figures: ____________ |
| Total for this Part: |  |  |  |  | In words:______________ _____________________ _____________________ In Figures: ____________ |

| Name of the Representative of the Bidder |  |  |  |
| --- | --- | --- | --- |
| Position |  |  |  |
| Name of the Bidder |  |  |

BILL OF QUANTITIES

Part No. G	                                                                                   Description: MECHANICAL WORKS

| Pay Item No. | ##### Description | Unit | Quantity | ##### Unit Price (Pesos) | ##### Amount (Pesos) |
| --- | --- | --- | --- | --- | --- |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 1200(2)c | Oscillating Fan (Ceiling Fan) | set | 2.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1200(5)a | Exhaust Fan (Ceiling Cassette) | set | 5.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1200(13)a | Airconditioning | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1202(1) | Automatic Fire Sprinkler System (AFSS) | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| Total for this Page: |  |  |  |  | In words:______________ _____________________ _____________________ In Figures: ____________ |

| Name of the Representative of the Bidder |  |  |  |
| --- | --- | --- | --- |
| Position |  |  |  |
| Name of the Bidder |  |  |

BILL OF QUANTITIES

Part No. G	                                                                                      Description: MECHANICAL WORKS

| Pay Item No. | ##### Description | Unit | Quantity | ##### Unit Price (Pesos) | ##### Amount (Pesos) |
| --- | --- | --- | --- | --- | --- |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 1203(2) | Service Elevator | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1208(1) | Fire Alarm System | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1201(1) | Water Pumping System | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| 1201(7)a | Water Tank (Stainless) | set | 5.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| Total for this Page: |  |  |  |  | In words:______________ _____________________ _____________________ In Figures: ____________ |
| Total for this Part: |  |  |  |  | In words:______________ _____________________ _____________________ In Figures: ____________ |

| Name of the Representative of the Bidder |  |  |  |
| --- | --- | --- | --- |
| Position |  |  |  |
| Name of the Bidder |  |  |

BILL OF QUANTITIES

Part No. K	                                                                                      Description: WATER SUPPLY

| Pay Item No. | ##### Description | Unit | Quantity | ##### Unit Price (Pesos) | ##### Amount (Pesos) |
| --- | --- | --- | --- | --- | --- |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 1604(1) | Water Treatment Plant (WTP), Modular/Skid Type | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| Total for this Part: |  |  |  |  | In words:______________ _____________________ _____________________ In Figures: ____________ |

| Name of the Representative of the Bidder |  |  |  |
| --- | --- | --- | --- |
| Position |  |  |  |
| Name of the Bidder |  |  |

BILL OF QUANTITIES

Part No. L	                                                                                      Description: WATER SUPPLY

| Pay Item No. | ##### Description | Unit | Quantity | ##### Unit Price (Pesos) | ##### Amount (Pesos) |
| --- | --- | --- | --- | --- | --- |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 1729(1) | Sewage Treatment Plant (STP) – Dynamic Sequential Batch Reactor (SBR) Process | ls | 1.00 | In words:______________ _____________________ _____________________ In Figures: ____________ | In words:______________ _____________________ _____________________ In Figures: ____________ |
| Total for this Part: |  |  |  |  | In words:______________ _____________________ _____________________ In Figures: ____________ |

| Name of the Representative of the Bidder |  |  |  |
| --- | --- | --- | --- |
| Position |  |  |  |
| Name of the Bidder |  |  |

# Section IX. Checklist of Technical and Financial Documents

Notes on the Checklist of Technical and Financial Documents The prescribed documents in the checklist are mandatory to be submitted in the Bid, but shall be subject to the following: - GPPB Resolution No. 09-2020 on the efficient procurement measures during a State of Calamity or other similar issuances that shall allow the use of alternate documents in lieu of the mandated requirements; or - Any subsequent GPPB issuances adjusting the documentary requirements after the effectivity of the adoption of the PBDs. The BAC shall be checking the submitted documents of each Bidder against this checklist to ascertain if they are all present, using a non-discretionary “pass/fail” criterion pursuant to Section 30 of the 2016 revised IRR of RA No. 9184.

Checklist of Technical and Financial Documents

| - TECHNICAL COMPONENT ENVELOPE |  |  |
| --- | --- | --- |
| Class “A” Documents |  |  |
| Legal Documents |  |  |
| ⬜ | - Valid PhilGEPS Registration Certificate (Platinum Membership) (all pages); |  |
| Technical Documents |  |  |
| ⬜ | - Statement of the prospective bidder of all its ongoing government and private contracts, including contracts awarded but not yet started, if any, whether similar or not similar in nature and complexity to the contract to be bid; and |  |
| ⬜ | - Statement of the bidder’s Single Largest Completed Contract (SLCC) similar to the contract to be bid, except under conditions provided under the rules; and |  |
| ⬜ | - Philippine Contractors Accreditation Board (PCAB) License; or Special PCAB License in case of Joint Ventures; and registration for the type and cost of the contract to be bid; and |  |
| ⬜ | - Original copy of Bid Security. If in the form of a Surety Bond, submit also a certification issued by the Insurance Commission; or Original copy of Notarized Bid Securing Declaration; and |  |
|  | - Project Requirements, which shall include the following: |  |
| ⬜ | - Organizational chart for the contract to be bid; |  |
| ⬜ | - List of contractor’s key personnel (e.g., Project Manager, Project Engineers, Materials Engineers, and Foremen), to be assigned to the contract to be bid, with their complete qualification and experience data; |  |
| ⬜ | - List of contractor’s major equipment units, which are owned, leased, and/or under purchase agreements, supported by proof of ownership or certification of availability of equipment from the equipment lessor/vendor for the duration of the project, as the case may be; and |  |
| ⬜ | - Original duly signed Omnibus Sworn Statement (OSS); and if applicable, Original Notarized Secretary’s Certificate in case of a corporation, partnership, or cooperative; or Original Special Power of Attorney of all members of the joint venture giving full power and authority to its officer to sign the OSS and do acts to represent the Bidder. |  |
| Financial Documents |  |  |
| ⬜ | - The prospective bidder’s audited financial statements, showing, among others, the prospective bidder’s total and current assets and liabilities, stamped “received” by the BIR or its duly accredited and authorized institutions, for the preceding calendar year which should not be earlier than two (2) years from the date of bid submission; and |  |
| ⬜ | - The prospective bidder’s computation of Net Financial Contracting Capacity (NFCC). |  |
| Class “B” Documents |  |  |
| ⬜ | - If applicable, duly signed joint venture agreement (JVA) in accordance with RA No. 4566 and its IRR in case the joint venture is already in existence; or duly notarized statements from all the potential joint venture partners stating that they will enter into and abide by the provisions of the JVA in the instance that the bid is successful. |  |
| - FINANCIAL COMPONENT ENVELOPE |  |  |
| ⬜ |  | - Original of duly signed and accomplished Financial Bid Form; and |
| Other documentary requirements under RA No. 9184 |  |  |
| ⬜ |  | - Original of duly signed Bid Prices in the Bill of Quantities; and |
| ⬜ |  | - Duly accomplished Detailed Estimates Form, including a summary sheet indicating the unit prices of construction materials, labor rates, and equipment rentals used in coming up with the Bid; and |
| ⬜ |  | - Cash Flow by Quarter. |

## Section X. Bidding Forms

The Bidder shall use the Bidding Forms (BFs) listed below in preparing its Bid and, in case it is awarded the contract, in preparing the documents required to perfect the contract.

- GPPB Resolution 16-2020	:	Bid Form

- DPWH-INFR-10	:	Bid Security: Bank Guarantee

- DPWH-INFR-11	:	Bid Security: Irrevocable Letter of Credit

- GPPB Resolution 16-2020	:	Bid Securing Declaration

- DPWH-INFR-13	:	Contractor’s Organizational Chart for the Contract

- DPWH-INFR-14	:	List of Contractor’s Key Personnel to be assigned to the

Contract, with their Qualification and Experience Data

- DPWH-INFR-15	:	List of Contractor’s Equipment Units to be Assigned to the

Contract, Supported by Certificates of Availability

- GPPB Resolution 16-2020	:	Omnibus Sworn Statement (Revised)

- DPWH-INFR-17	:	Bill of Quantities (BOQ)

- DPWH-INFR-18	:	Summary of Bid Prices

- DPWH-INFR-19	Cash Flow by Quarter

- DPWH-INFR-20	:	Bidder’s Checklist of Requirements for Its Bid, Including

Technical and Financial Proposals Requirement for Bidders

- DPWH-INFR-43	:	Performance Security: Irrevocable Letter of Credit

- DPWH-INFR-44	:	Performance Security: Bank Guarantee

- GPPB Resolution 16-2020	:	Performance Security Declaration (Revised)

- DPWH-INFR-45	:	Construction Methods

- DPWH-INFR-46	:	Construction Schedule  in  the  form  of  PERT/CPM  or

Precedence Diagram and Bar Chart with S-Curve and Cash Flow

- DPWH-INFR-47	:	Manpower Schedule

- DPWH-INFR-48	:	Major Equipment Utilization Schedule

- DPWH-INFR-49	:	Construction Safety and Health Program

- DPWH-INFR-50	:	Checklist of Contract Documents and Supporting Documents

- :	Letter of Technical Bid

- :	Letter of Price Bid

- :	Letter of Acceptance

- :	Affidavit of Disclosure of No Relationship

- :	Certification on Bidder’s Responsibilities

- :	Certificate of Authenticity

The content of each of these forms is given in the attached file marked “Bidding Forms.” The bidder may download these forms from the DPWH & GPPB Website. The bidder may also obtain from the Procuring Entity hard copies of these forms as part of the BDs for the contract.